## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 583. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 53. A stochastic demand and renewable energy resource model is used to develop 53 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP + Small interval meter load (GWh) | The annual energy requirements for the given NSLP + Small interval meter load and given weather set.
| Annual peak demand - NSLP + Small interval meter load (MW) | The annual peak demand for the given NSLP + Small interval meter load and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP + Small interval meter load ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP + Small interval meter load and simulation number - using the corresponding hourly NSLP loads as the weights.
Hedged price (nominal at the regional reference node) | Annual hedged price - NSLP + Small interval meter load ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP + Small interval meter load and simulation number.

## Data
Summary of results for 583 market simulations for 2024-25 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | Hedged price (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP + Small interval meter load(GWh) | Annual peak demand - Energex NSLP + Small interval meter load (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional Load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP + Small interval meter load ($/MWh) | Annual hedged price - Energex NSLP + Small interval meter load ($/MWh)
1 | 1 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 74.1 | 84.58 | 48 | 5.4311 | 105.12 | 163.43
2 | 1 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 73.31 | 83.23 | 58 | 7.0968 | 104.94 | 162.57
3 | 1 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 84.25 | 99.71 | 58 | 16.3112 | 134.61 | 159.09
4 | 1 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 75.95 | 85.73 | 40 | 6.6887 | 103.12 | 154.57
5 | 1 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 72.46 | 82.44 | 40 | 6.2173 | 103.89 | 162.85
6 | 1 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 78.69 | 90.57 | 48 | 9.8908 | 116.07 | 159.52
7 | 1 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 76.32 | 85.53 | 51 | 5.3506 | 104.13 | 158.55
8 | 1 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 85.13 | 101.93 | 54 | 15.1633 | 136.74 | 157.44
9 | 1 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 84.1 | 97.67 | 89 | 13.2295 | 125.99 | 157.05
10 | 1 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 82.17 | 95.68 | 49 | 12.6388 | 124.71 | 155.77
11 | 1 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 83.96 | 99.01 | 80 | 16.1773 | 133.48 | 158.62
12 | 1 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 77.67 | 88.14 | 54 | 8.565 | 110.71 | 159.4
13 | 1 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 91.08 | 107.75 | 81 | 20.232 | 143.88 | 152.19
14 | 1 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 70.4 | 79.09 | 51 | 5.8744 | 98.76 | 162.15
15 | 1 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 75.22 | 84.13 | 55 | 5.1335 | 101.93 | 157.6
16 | 1 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 89.29 | 106.81 | 88 | 19.4698 | 143.89 | 158.48
17 | 1 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 84.49 | 100.6 | 65 | 14.683 | 135.07 | 159.21
18 | 1 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 76.38 | 88.16 | 59 | 8.6856 | 112.41 | 158.37
19 | 1 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.86 | 88.12 | 52 | 8.6283 | 110.26 | 158.99
20 | 1 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 75.62 | 86.7 | 59 | 7.8187 | 109.85 | 159.73
21 | 1 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 90.6 | 109.88 | 64 | 20.0285 | 149.16 | 155.93
22 | 1 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 78.26 | 90.74 | 56 | 10.4173 | 116.11 | 158.63
23 | 1 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 74.16 | 84.24 | 50 | 6.7875 | 105.21 | 159.64
24 | 1 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 73.68 | 83.41 | 43 | 7.0722 | 102.24 | 157.18
25 | 1 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 69.92 | 78.37 | 36 | 3.5391 | 96.04 | 163.32
26 | 1 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 77.19 | 89.83 | 63 | 9.8643 | 117.86 | 161.37
27 | 1 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 74.76 | 84.83 | 40 | 7.7734 | 108.04 | 163.57
28 | 1 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 101.15 | 125.85 | 93 | 29.5287 | 177.98 | 162.13
29 | 1 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 91.25 | 112.67 | 70 | 22.1425 | 162.56 | 164.76
30 | 1 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 73.22 | 82.69 | 33 | 4.8815 | 100.89 | 160.59
31 | 1 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 74.38 | 85.23 | 38 | 6.2667 | 106.73 | 161.05
32 | 1 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 88.74 | 107.72 | 75 | 20.3525 | 150.68 | 159.3
33 | 1 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 68.28 | 75.82 | 38 | 2.1399 | 90.1 | 160.9
34 | 1 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 105.44 | 135.6 | 100 | 34.9709 | 200.77 | 157.9
35 | 1 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 81.33 | 95.12 | 54 | 13.5033 | 126.49 | 159.63
36 | 1 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 87.28 | 104.43 | 78 | 16.9 | 140.23 | 159.21
37 | 1 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 88.75 | 107.32 | 62 | 21.0544 | 149.94 | 157.68
38 | 1 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 74.31 | 85.15 | 57 | 7.0802 | 109.19 | 163.65
39 | 1 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 78.38 | 90.4 | 62 | 10.0756 | 115.03 | 157.64
40 | 1 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 81.28 | 95.55 | 62 | 12.4493 | 124.88 | 157.61
41 | 1 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 82.67 | 95.72 | 76 | 12.83 | 121.43 | 154.42
42 | 1 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 78.77 | 90.16 | 55 | 11.6766 | 115.81 | 157.75
43 | 1 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 102.32 | 128.41 | 88 | 32.2948 | 184.36 | 150.95
44 | 1 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 91.59 | 113.41 | 72 | 23.7575 | 162.61 | 159.09
45 | 1 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 86.59 | 103.59 | 71 | 16.7722 | 138.71 | 154.72
46 | 1 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 79.98 | 93.27 | 64 | 11.2104 | 121.24 | 160.04
47 | 1 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 100.84 | 124.96 | 105 | 28.2533 | 176.46 | 156.66
48 | 1 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 96.07 | 119.46 | 94 | 25.6465 | 169.82 | 160.42
49 | 1 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 105.14 | 132.76 | 104 | 33.8296 | 193.33 | 156.37
50 | 1 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 87.52 | 105.39 | 77 | 17.0725 | 141.94 | 156.86
51 | 1 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 80.09 | 93.54 | 50 | 11.7133 | 122.17 | 159.35
52 | 1 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 92.82 | 115.29 | 79 | 22.4809 | 159.68 | 158.42
53 | 1 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 117.6 | 153.1 | 119 | 46.9401 | 232 | 152.27
54 | 2 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 84.36 | 99.39 | 66 | 15.7537 | 132.54 | 160.43
55 | 2 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 76.81 | 88.07 | 55 | 11.0279 | 114.82 | 161.19
56 | 2 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 89 | 106.9 | 80 | 21.2582 | 147.81 | 157
57 | 2 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 77.86 | 86.98 | 39 | 8.7358 | 106.82 | 156.65
58 | 2 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 84.52 | 99.31 | 51 | 18.1746 | 135.01 | 159.24
59 | 2 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 82.3 | 96.4 | 75 | 12.8593 | 126.15 | 158.73
60 | 2 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 87.56 | 100.91 | 67 | 16.1865 | 129.46 | 151.66
61 | 2 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 95.38 | 113.93 | 89 | 24.6095 | 158.68 | 159.61
62 | 2 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 86.76 | 101.45 | 96 | 15.5764 | 131.54 | 154.19
63 | 2 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 86.34 | 100.73 | 60 | 16.7995 | 133.26 | 155.19
64 | 2 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 81.92 | 96.36 | 64 | 14.012 | 129.54 | 161.29
65 | 2 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 78.43 | 88.78 | 81 | 8.7942 | 111.69 | 160.92
66 | 2 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 86.56 | 100.62 | 91 | 15.2892 | 130.98 | 155.29
67 | 2 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 68.78 | 76.58 | 31 | 4.3066 | 93.55 | 161.62
68 | 2 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 89.06 | 104.46 | 60 | 18.7497 | 141.86 | 158.64
69 | 2 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 90.39 | 106.99 | 68 | 20.6169 | 142.28 | 156.24
70 | 2 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 84.62 | 99.88 | 95 | 14.1501 | 132.79 | 158.57
71 | 2 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 82.68 | 96.22 | 77 | 14.6642 | 125.95 | 154.88
72 | 2 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 77.98 | 89.99 | 54 | 9.9751 | 115.41 | 160.57
73 | 2 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 80.03 | 92.73 | 74 | 12.3285 | 120.87 | 159.75
74 | 2 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 89.08 | 106.98 | 77 | 18.2473 | 143.69 | 158.04
75 | 2 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 80.63 | 94.43 | 63 | 12.4006 | 123.81 | 160.03
76 | 2 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 77.79 | 88.77 | 50 | 9.7346 | 112.31 | 157.92
77 | 2 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 77.18 | 89.54 | 50 | 10.5594 | 114.39 | 157.99
78 | 2 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 74.54 | 84.79 | 54 | 8.318 | 107.43 | 161.2
79 | 2 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 78.4 | 90.46 | 65 | 10.9766 | 118.38 | 160.64
80 | 2 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 77.5 | 88.51 | 43 | 10.6768 | 114.61 | 162.19
81 | 2 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 98.41 | 120.73 | 115 | 26.5939 | 168.76 | 161.23
82 | 2 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 91.46 | 111.67 | 69 | 22.6164 | 160.48 | 164.08
83 | 2 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 79.85 | 92.06 | 48 | 11.4775 | 118.12 | 158.66
84 | 2 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 80.03 | 93.76 | 79 | 11.1786 | 122.22 | 159.84
85 | 2 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 92.3 | 113.73 | 78 | 23.905 | 161.82 | 160.23
86 | 2 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 72.55 | 82.23 | 58 | 5.7753 | 102.69 | 161.16
87 | 2 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 88.57 | 106.69 | 99 | 17.9536 | 144.94 | 158.02
88 | 2 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 84.56 | 100.4 | 94 | 16.3441 | 135.53 | 157.72
89 | 2 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 98.57 | 122.49 | 89 | 27.7602 | 173.72 | 160.36
90 | 2 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 76.93 | 88.33 | 50 | 9.3182 | 113.73 | 160.29
91 | 2 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 77.78 | 88.16 | 80 | 10.3026 | 111.03 | 160.23
92 | 2 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 80.08 | 93.08 | 69 | 11.4939 | 120.19 | 157.39
93 | 2 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 86.44 | 101.39 | 72 | 17.5359 | 135.92 | 160.07
94 | 2 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 83.64 | 96.03 | 62 | 13.0615 | 123.35 | 158.87
95 | 2 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 72.47 | 80.88 | 46 | 5.3273 | 98.69 | 159.58
96 | 2 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 97.63 | 120.26 | 86 | 27.387 | 171.02 | 159.59
97 | 2 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 90.65 | 111.63 | 67 | 22.6012 | 159.84 | 160.49
98 | 2 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 82.17 | 96.96 | 61 | 12.657 | 127.1 | 156.06
99 | 2 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 90.14 | 108.82 | 65 | 21.1995 | 151.36 | 160.77
100 | 2 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 101.77 | 126.88 | 111 | 29.3207 | 178.54 | 154.79
101 | 2 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 103.06 | 129.57 | 110 | 32.8432 | 187.87 | 156.5
102 | 2 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 105.01 | 132.58 | 125 | 33.4242 | 192.73 | 157.84
103 | 2 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 84.87 | 101.58 | 71 | 14.7105 | 137.24 | 159.58
104 | 2 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 86.96 | 104.46 | 61 | 18.7846 | 145.64 | 160.75
105 | 2 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 89.32 | 107.41 | 69 | 18.9826 | 146.69 | 159.54
106 | 2 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 112.18 | 146.55 | 93 | 41.4083 | 223.9 | 159
107 | 3 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 76.94 | 88.61 | 69 | 8.2748 | 112.41 | 160.78
108 | 3 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 73.44 | 82.9 | 50 | 7.5727 | 104.48 | 162.12
109 | 3 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 81.62 | 95.04 | 72 | 13.8523 | 124.47 | 158.11
110 | 3 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 73.41 | 81.29 | 45 | 4.5811 | 97.41 | 157.98
111 | 3 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 79.42 | 92.07 | 58 | 13.5065 | 123.13 | 163.25
112 | 3 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 78.48 | 90.19 | 53 | 9.4136 | 114.6 | 159.77
113 | 3 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 82.1 | 93.12 | 69 | 10.9404 | 116.26 | 155.52
114 | 3 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 94.96 | 115.89 | 94 | 25.1036 | 163.74 | 158.74
115 | 3 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 86.56 | 101.5 | 93 | 15.8307 | 130.88 | 152.19
116 | 3 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 81.49 | 94.55 | 60 | 12.022 | 122.73 | 154.57
117 | 3 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 88.95 | 106.44 | 57 | 21.5282 | 149.86 | 160.8
118 | 3 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 78.71 | 89.36 | 68 | 9.6954 | 112.04 | 158.09
119 | 3 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 84.69 | 97.97 | 70 | 13.7554 | 125.92 | 156.68
120 | 3 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 68.06 | 75.82 | 50 | 3.7646 | 91.98 | 161
121 | 3 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 82.4 | 93.2 | 71 | 12.6574 | 118.71 | 156.99
122 | 3 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 82.86 | 97.7 | 66 | 13.4758 | 128.45 | 159.12
123 | 3 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 88.78 | 108.03 | 96 | 18.9907 | 150.35 | 161.57
124 | 3 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 74.22 | 83.12 | 60 | 6.6025 | 102.63 | 158.38
125 | 3 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 74.78 | 84.34 | 43 | 6.9318 | 104.82 | 159.99
126 | 3 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 75.09 | 86.07 | 82 | 7.2153 | 108.61 | 160.83
127 | 3 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 84.37 | 99.21 | 74 | 13.9784 | 129.2 | 157.57
128 | 3 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 80.22 | 93.18 | 73 | 12.0489 | 120.01 | 159.43
129 | 3 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 86.32 | 104.71 | 57 | 18.6232 | 145.72 | 160.11
130 | 3 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 79.69 | 94.51 | 39 | 13.0354 | 125.82 | 159.76
131 | 3 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 71.31 | 80.29 | 42 | 4.9531 | 99.33 | 162.04
132 | 3 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 84.03 | 99.98 | 69 | 16.94 | 137.26 | 160.59
133 | 3 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 71.73 | 80.51 | 43 | 4.75 | 99.81 | 163.64
134 | 3 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 110.21 | 140.85 | 126 | 38.1488 | 207.52 | 160.87
135 | 3 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 98.77 | 122.7 | 81 | 29.5472 | 180.27 | 159.49
136 | 3 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 73.35 | 82.24 | 33 | 5.3138 | 101.06 | 161.77
137 | 3 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 81.15 | 95.98 | 56 | 12.789 | 127.21 | 160.4
138 | 3 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 93.57 | 115.95 | 95 | 25.4584 | 166.5 | 159.92
139 | 3 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 73.04 | 83.31 | 52 | 6.9371 | 105.18 | 159.96
140 | 3 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 101.01 | 129.15 | 86 | 30.6996 | 188.59 | 160.2
141 | 3 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 87.69 | 106.16 | 64 | 19.6882 | 148.24 | 159.62
142 | 3 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 85.68 | 101.44 | 72 | 15.2791 | 133.65 | 160.9
143 | 3 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 88.77 | 106.23 | 59 | 21.2446 | 146.76 | 154.15
144 | 3 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 76.42 | 88.46 | 65 | 9.4947 | 116.67 | 163.57
145 | 3 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 84.64 | 100.7 | 79 | 16.5823 | 133.43 | 154.34
146 | 3 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 80.88 | 94.82 | 73 | 11.953 | 124.49 | 159.44
147 | 3 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 86.59 | 101.35 | 79 | 16.76 | 134.75 | 157.25
148 | 3 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 74.25 | 84.14 | 43 | 7.6313 | 104.8 | 157.49
149 | 3 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 107.05 | 135.11 | 93 | 36.9708 | 198.44 | 153.09
150 | 3 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 87.82 | 107.11 | 64 | 19.898 | 150.24 | 158.75
151 | 3 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 83.9 | 99.79 | 66 | 14.7614 | 131.82 | 154.52
152 | 3 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 74.75 | 85.4 | 46 | 6.5744 | 107.13 | 159.99
153 | 3 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 104.14 | 129.89 | 114 | 31.5233 | 184.52 | 154.63
154 | 3 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 107.71 | 137.62 | 100 | 37.8548 | 204.17 | 156.12
155 | 3 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 112.25 | 144.09 | 125 | 41.0136 | 214.58 | 152.32
156 | 3 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 89.03 | 107.4 | 92 | 18.6807 | 145.26 | 154.41
157 | 3 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 80.13 | 94.08 | 60 | 11.9914 | 123.92 | 159.85
158 | 3 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 83.61 | 97.89 | 90 | 12.8841 | 127.49 | 159.62
159 | 3 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 109.81 | 143.14 | 100 | 39.3112 | 217.36 | 159.84
160 | 4 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 84.45 | 99.19 | 79 | 15.8763 | 131.11 | 157.97
161 | 4 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 76.33 | 87.7 | 52 | 10.7536 | 115.14 | 162.31
162 | 4 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 90.61 | 109.93 | 82 | 22.8464 | 153.91 | 156.84
163 | 4 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 73.91 | 81.27 | 37 | 5.3796 | 95.15 | 153.93
164 | 4 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 78.44 | 89.8 | 51 | 12.3187 | 118.09 | 162.94
165 | 4 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 77.31 | 88.49 | 51 | 8.2334 | 112.07 | 159.44
166 | 4 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 77.75 | 87.4 | 53 | 7.1724 | 107.41 | 157.21
167 | 4 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 88.62 | 104.57 | 84 | 18.2531 | 142.01 | 159.44
168 | 4 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 84.48 | 97.38 | 82 | 13.7928 | 123.6 | 152.72
169 | 4 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 80.79 | 92.83 | 53 | 11.3263 | 118.31 | 155.07
170 | 4 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 90.28 | 108.8 | 79 | 22.5511 | 151.51 | 158.62
171 | 4 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 75.07 | 84.63 | 61 | 6.2762 | 104.82 | 160.22
172 | 4 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 77.44 | 87.38 | 56 | 6.8253 | 107.96 | 158.51
173 | 4 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 71.28 | 80.12 | 48 | 6.9792 | 100.04 | 159.86
174 | 4 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 77.66 | 87.35 | 59 | 7.6428 | 108.34 | 157.48
175 | 4 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 85.96 | 101.41 | 58 | 16.4029 | 135.03 | 160.2
176 | 4 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 79.72 | 93.1 | 54 | 10.0034 | 121.3 | 159.78
177 | 4 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 74.55 | 84.58 | 62 | 7.1955 | 105.35 | 157.87
178 | 4 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.95 | 88.47 | 45 | 9.3886 | 111.99 | 159.54
179 | 4 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 75.19 | 87.31 | 72 | 8.0516 | 112.64 | 161.21
180 | 4 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 90.57 | 108.93 | 81 | 20.3304 | 146.68 | 154.96
181 | 4 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 73.68 | 83.87 | 40 | 6.1555 | 104.39 | 159.51
182 | 4 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 74.78 | 84.1 | 44 | 7.1392 | 104.42 | 159.53
183 | 4 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 76.22 | 87.61 | 44 | 9.8003 | 110.24 | 159.06
184 | 4 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 71.54 | 80.85 | 37 | 5.6074 | 100.32 | 160.96
185 | 4 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 82.49 | 97.66 | 69 | 15.2125 | 133.5 | 161.52
186 | 4 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 80.35 | 92.34 | 47 | 13.3277 | 122.28 | 162.53
187 | 4 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 95.18 | 114.73 | 86 | 23.6591 | 157.05 | 159.15
188 | 4 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 93.93 | 115.05 | 70 | 24.89 | 167.8 | 166.53
189 | 4 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 76.3 | 87.22 | 43 | 8.4742 | 109.35 | 157.97
190 | 4 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 82.39 | 97.66 | 61 | 14.1491 | 129.08 | 159.51
191 | 4 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 84.4 | 101.13 | 88 | 16.3014 | 137.15 | 159.67
192 | 4 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 69.98 | 77.75 | 30 | 3.8355 | 93.01 | 158.92
193 | 4 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 91.93 | 113.22 | 96 | 22.0268 | 157.9 | 160.16
194 | 4 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 82.42 | 96.38 | 59 | 14.7086 | 127.44 | 156.23
195 | 4 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 94.74 | 117.07 | 67 | 24.6277 | 165.48 | 162.67
196 | 4 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 76.39 | 88.11 | 59 | 9.1356 | 113.78 | 159.35
197 | 4 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 75.45 | 86.43 | 62 | 8.4509 | 111.2 | 162.13
198 | 4 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 79.62 | 92.57 | 69 | 11.3993 | 119.2 | 156.73
199 | 4 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 80.1 | 93.58 | 55 | 11.5653 | 123.6 | 162.57
200 | 4 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 84.92 | 98.74 | 72 | 14.9364 | 128.37 | 156.41
201 | 4 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 69.32 | 76.7 | 42 | 3.1231 | 91.88 | 160.2
202 | 4 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 100.92 | 125.41 | 94 | 30.91 | 179.34 | 152.91
203 | 4 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 88.38 | 109.13 | 55 | 20.9322 | 156.04 | 161.37
204 | 4 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 79.76 | 93.3 | 50 | 11.2227 | 119.66 | 154.91
205 | 4 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 86.02 | 102.83 | 59 | 17.4548 | 141.58 | 161.76
206 | 4 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 97.28 | 119.2 | 99 | 25.2719 | 165.03 | 155.26
207 | 4 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 97.68 | 120.33 | 111 | 27.1842 | 169.83 | 157.64
208 | 4 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 99.35 | 124.74 | 106 | 28.5737 | 179.77 | 157.41
209 | 4 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 84.97 | 101.23 | 74 | 15.0859 | 134.93 | 157.12
210 | 4 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 78 | 90.95 | 43 | 10.4786 | 119.14 | 159.95
211 | 4 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 85.15 | 101.06 | 76 | 14.9295 | 134.01 | 159.12
212 | 4 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 107 | 137.96 | 102 | 37.0022 | 208.87 | 162.64
213 | 5 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 74.25 | 84.8 | 48 | 5.7089 | 105.64 | 163.4
214 | 5 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 73.17 | 83.04 | 56 | 6.9744 | 104.64 | 162.53
215 | 5 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 83.79 | 98.9 | 57 | 15.8245 | 132.91 | 159.01
216 | 5 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 75.9 | 85.66 | 37 | 6.6934 | 103.04 | 154.46
217 | 5 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 73.01 | 83.11 | 41 | 6.6835 | 105.01 | 162.62
218 | 5 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 78.37 | 90.07 | 50 | 9.5945 | 115.08 | 159.46
219 | 5 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 76.35 | 85.56 | 49 | 5.3459 | 104.15 | 158.55
220 | 5 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 85.14 | 101.88 | 56 | 15.1338 | 136.58 | 157.43
221 | 5 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 84.18 | 97.74 | 88 | 13.2831 | 126.19 | 157.26
222 | 5 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 82.29 | 95.87 | 51 | 12.6698 | 125.03 | 155.88
223 | 5 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 84.72 | 100.18 | 79 | 16.9517 | 135.52 | 158
224 | 5 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 80.99 | 94.06 | 59 | 11.796 | 122.74 | 160.39
225 | 5 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 90.65 | 107.16 | 79 | 19.8049 | 142.96 | 152.41
226 | 5 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 70.72 | 79.48 | 53 | 6.1379 | 99.4 | 162.02
227 | 5 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 74.79 | 83.54 | 48 | 4.7826 | 101.01 | 157.85
228 | 5 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 88.77 | 106.05 | 86 | 19.0198 | 142.68 | 158.81
229 | 5 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 84.05 | 99.76 | 64 | 14.254 | 133.21 | 158.96
230 | 5 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 76.4 | 88.17 | 61 | 8.6446 | 112.39 | 158.42
231 | 5 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.95 | 88.24 | 54 | 8.6829 | 110.45 | 158.99
232 | 5 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 76.34 | 87.77 | 60 | 8.4458 | 111.69 | 159.33
233 | 5 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 90.63 | 109.94 | 64 | 19.9962 | 149.29 | 156.11
234 | 5 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 78.41 | 90.97 | 59 | 10.4458 | 116.47 | 158.81
235 | 5 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 74.12 | 84.19 | 50 | 6.7912 | 105.14 | 159.59
236 | 5 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 74.11 | 83.93 | 42 | 7.4262 | 103.1 | 157.05
237 | 5 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 69.86 | 78.29 | 36 | 3.5391 | 95.96 | 163.29
238 | 5 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 77.66 | 90.67 | 61 | 10.419 | 119.48 | 161.16
239 | 5 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 75.34 | 85.66 | 43 | 8.2858 | 109.43 | 163.2
240 | 5 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 101.48 | 126.3 | 93 | 29.9224 | 178.65 | 162.07
241 | 5 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 93.21 | 116.17 | 70 | 24.1395 | 169.56 | 165.03
242 | 5 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 72.78 | 81.95 | 29 | 4.4874 | 99.77 | 160.99
243 | 5 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 74.01 | 84.57 | 34 | 5.9216 | 105.27 | 160.82
244 | 5 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 89.75 | 109.33 | 72 | 21.2984 | 153.54 | 159.46
245 | 5 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 68.61 | 76.3 | 43 | 2.385 | 90.8 | 160.66
246 | 5 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 105.45 | 135.65 | 93 | 35.0938 | 200.81 | 157.65
247 | 5 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 82.03 | 96 | 63 | 14.1618 | 127.91 | 159.22
248 | 5 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 87.26 | 104.22 | 83 | 16.8128 | 139.37 | 158.56
249 | 5 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 88.87 | 107.47 | 66 | 21.1538 | 150.17 | 157.62
250 | 5 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 74.25 | 85.09 | 56 | 6.9993 | 109.13 | 163.85
251 | 5 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 78.12 | 90.06 | 62 | 9.7986 | 114.43 | 157.86
252 | 5 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 80.98 | 95.1 | 58 | 12.135 | 124.06 | 157.84
253 | 5 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 82.76 | 95.84 | 77 | 12.8778 | 121.6 | 154.4
254 | 5 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 78.4 | 89.61 | 55 | 11.3326 | 114.96 | 158.12
255 | 5 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 102.24 | 128.46 | 87 | 32.2089 | 184.73 | 151.4
256 | 5 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 91.04 | 112.36 | 73 | 23.1726 | 160.27 | 158.72
257 | 5 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 86.84 | 104.02 | 73 | 17.0925 | 139.49 | 154.63
258 | 5 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 79.89 | 93.13 | 61 | 11.1405 | 120.92 | 159.96
259 | 5 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 101.83 | 126.51 | 104 | 29.2214 | 179.07 | 156.17
260 | 5 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 95.99 | 119.06 | 100 | 25.3202 | 168.42 | 160
261 | 5 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 104.12 | 131.13 | 101 | 32.7904 | 190.28 | 156.78
262 | 5 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 87.58 | 105.51 | 79 | 17.1949 | 142.14 | 156.69
263 | 5 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 79.98 | 93.35 | 52 | 11.6041 | 121.83 | 159.42
264 | 5 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 93.15 | 115.6 | 77 | 22.9288 | 160.3 | 158.17
265 | 5 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 117.22 | 152.48 | 118 | 46.5805 | 230.82 | 152.31
266 | 6 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 84.56 | 99.84 | 61 | 15.5395 | 134.59 | 163.56
267 | 6 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 77.49 | 88.75 | 69 | 11.5083 | 114.9 | 160.4
268 | 6 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 96.44 | 118.73 | 97 | 28.0195 | 170.37 | 156.62
269 | 6 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 81.74 | 92.5 | 48 | 12.4221 | 116.89 | 155.61
270 | 6 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 70.44 | 78.97 | 50 | 4.0404 | 97.12 | 163.26
271 | 6 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 80.39 | 92.7 | 67 | 11.2233 | 119.56 | 158.97
272 | 6 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 81.52 | 92.43 | 57 | 10.3952 | 116.91 | 158.11
273 | 6 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 81.89 | 95.02 | 73 | 11.5183 | 123.64 | 158.94
274 | 6 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 88.27 | 103.1 | 86 | 17.3534 | 135.37 | 154.84
275 | 6 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 79.96 | 92.21 | 64 | 10.2323 | 118.27 | 156.92
276 | 6 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 90.56 | 108.56 | 77 | 22.5551 | 151.63 | 158.43
277 | 6 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 85.83 | 101.49 | 71 | 16.6596 | 135 | 156.31
278 | 6 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 92.7 | 108.8 | 95 | 21.3521 | 146.04 | 155.01
279 | 6 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 71.64 | 80.4 | 44 | 7.2045 | 100.31 | 160.37
280 | 6 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 84.13 | 96.03 | 68 | 14.1076 | 122.77 | 154.57
281 | 6 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 86.96 | 102.57 | 77 | 16.9656 | 135.82 | 157.96
282 | 6 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 95.36 | 117.24 | 101 | 24.9622 | 167.73 | 159.32
283 | 6 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 83.74 | 96.95 | 60 | 16.0074 | 128.89 | 158.12
284 | 6 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 85.49 | 102.9 | 59 | 16.9879 | 140.29 | 158.07
285 | 6 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 89.46 | 106.32 | 81 | 21.3931 | 146.07 | 157.87
286 | 6 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 97.62 | 118.96 | 100 | 26.5479 | 163.69 | 151.78
287 | 6 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 78.08 | 90.37 | 78 | 9.7303 | 116.2 | 160.29
288 | 6 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 76.62 | 87.41 | 54 | 8.6037 | 109.98 | 158.9
289 | 6 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 76.89 | 88.7 | 49 | 10.1295 | 112.27 | 158.14
290 | 6 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 78.24 | 90.17 | 36 | 12.0717 | 119.48 | 162.87
291 | 6 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 77.65 | 89.26 | 67 | 10.7043 | 115.68 | 159.55
292 | 6 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 78.68 | 89.97 | 36 | 11.7543 | 117.76 | 162.55
293 | 6 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 100.51 | 124.05 | 86 | 28.6771 | 174.45 | 158.89
294 | 6 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 92.51 | 113.64 | 77 | 23.3339 | 163.33 | 162.98
295 | 6 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 77.89 | 89.22 | 63 | 9.5692 | 112.53 | 158.33
296 | 6 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 81.57 | 96.35 | 66 | 13.1534 | 127.57 | 162.4
297 | 6 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 109.55 | 141.97 | 88 | 41.3011 | 215.95 | 161.86
298 | 6 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 71.36 | 79.42 | 33 | 4.7519 | 95.75 | 158.78
299 | 6 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 91.24 | 111.38 | 94 | 20.4859 | 153.38 | 158.54
300 | 6 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 89.42 | 107.78 | 65 | 21.3143 | 149.67 | 158.39
301 | 6 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 99.14 | 124.61 | 69 | 28.7992 | 180.98 | 164.39
302 | 6 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 83.58 | 97.64 | 61 | 15.6411 | 130.58 | 158.42
303 | 6 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 75.27 | 85.54 | 49 | 8.2544 | 109.34 | 162.44
304 | 6 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 80.14 | 93.24 | 68 | 11.5906 | 120.41 | 157.45
305 | 6 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 83.2 | 98.41 | 83 | 13.8515 | 131.04 | 160.37
306 | 6 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 90.17 | 106.57 | 70 | 20.4275 | 140.87 | 151.11
307 | 6 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 78.36 | 89.33 | 53 | 11.0677 | 114.21 | 158.05
308 | 6 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 110.1 | 141.55 | 110 | 39.5868 | 209.01 | 150.98
309 | 6 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 94.31 | 117.63 | 70 | 25.8028 | 170.94 | 159.88
310 | 6 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 87.06 | 104.06 | 63 | 17.4961 | 138.64 | 153.57
311 | 6 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 90.06 | 108.93 | 64 | 21.2844 | 153.15 | 162.22
312 | 6 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 105.47 | 131.88 | 114 | 32.6525 | 186.91 | 152.06
313 | 6 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 116.16 | 148.78 | 119 | 45.5881 | 222.97 | 154.33
314 | 6 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 129.54 | 168.4 | 139 | 57.7797 | 257.28 | 150.85
315 | 6 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 92.91 | 114.07 | 83 | 22.406 | 158.05 | 154.22
316 | 6 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 86.26 | 104.25 | 67 | 17.9253 | 146.03 | 160.71
317 | 6 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 92.94 | 112.16 | 71 | 22.7221 | 155.21 | 159.39
318 | 6 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 99.35 | 125.93 | 92 | 28.9061 | 184.89 | 161.56
319 | 7 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 81.11 | 94.38 | 83 | 12.3067 | 123.6 | 161.94
320 | 7 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 79.32 | 91.51 | 82 | 12.9787 | 121.05 | 162.49
321 | 7 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 81.28 | 93.86 | 77 | 12.8907 | 120.93 | 157
322 | 7 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 70.15 | 76.76 | 29 | 1.3871 | 88.5 | 157.36
323 | 7 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 95.95 | 116.45 | 52 | 29.6343 | 165.16 | 149.01
324 | 7 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 79.76 | 91.65 | 50 | 10.5353 | 117.15 | 158.11
325 | 7 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 88.68 | 103.89 | 76 | 17.4562 | 137.42 | 155.12
326 | 7 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 98.66 | 119.76 | 98 | 27.9516 | 168.08 | 154.09
327 | 7 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 80.21 | 91.16 | 70 | 9.5082 | 113.03 | 155.92
328 | 7 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 81.81 | 94.47 | 56 | 12.1614 | 122.47 | 155.68
329 | 7 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 93.82 | 114.57 | 66 | 25.8101 | 165.13 | 160.75
330 | 7 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 79.69 | 90.93 | 56 | 10.7994 | 116.52 | 160.12
331 | 7 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 82.32 | 94.24 | 63 | 11.3196 | 120.23 | 157.63
332 | 7 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 74.29 | 84.21 | 36 | 9.8248 | 108.58 | 161.54
333 | 7 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 80.96 | 91.57 | 56 | 10.6217 | 115.92 | 157.99
334 | 7 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 81.52 | 94.15 | 91 | 11.7052 | 119.74 | 157.82
335 | 7 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 91.33 | 109.91 | 94 | 21.0076 | 151.5 | 156.44
336 | 7 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 76.07 | 87.29 | 70 | 8.5266 | 111.96 | 160.21
337 | 7 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 74.2 | 84.6 | 44 | 6.1844 | 105.75 | 159.72
338 | 7 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 76.75 | 89.24 | 65 | 8.7703 | 116.3 | 162.72
339 | 7 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 95.45 | 116.81 | 69 | 25.272 | 162.33 | 154.97
340 | 7 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 78.15 | 90.23 | 63 | 9.7295 | 115.35 | 158.88
341 | 7 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 83.53 | 98.63 | 58 | 15.4585 | 132.4 | 160.35
342 | 7 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 70.64 | 78.93 | 36 | 3.8513 | 95.22 | 160.32
343 | 7 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 70.35 | 78.75 | 41 | 4.0615 | 95.78 | 160.61
344 | 7 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 86.12 | 101.02 | 56 | 18.9758 | 138.06 | 158.25
345 | 7 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 74.72 | 84.49 | 39 | 7.8359 | 107.22 | 163.03
346 | 7 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 98.97 | 121.23 | 102 | 26.7841 | 169.31 | 158.32
347 | 7 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 97.87 | 119.88 | 89 | 28.6472 | 175.4 | 162.9
348 | 7 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 76.36 | 87.74 | 34 | 8.106 | 110.15 | 158.19
349 | 7 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 76.62 | 88.9 | 50 | 8.569 | 114.24 | 162.43
350 | 7 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 94.3 | 116.75 | 88 | 25.8362 | 166.22 | 158.18
351 | 7 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 68.51 | 76.38 | 31 | 2.2669 | 91.5 | 161.14
352 | 7 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 86.94 | 104.3 | 74 | 17.1064 | 142.49 | 160.69
353 | 7 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 87.3 | 103.86 | 67 | 19.3771 | 142.16 | 157.57
354 | 7 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 84.91 | 101.25 | 62 | 14.6157 | 134.88 | 160.78
355 | 7 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 80.18 | 94.09 | 55 | 12.5341 | 124.97 | 158.57
356 | 7 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 76.63 | 87.27 | 60 | 9.7252 | 111.96 | 161
357 | 7 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 85.44 | 100.8 | 65 | 16.9273 | 133.94 | 155.57
358 | 7 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 78.39 | 90.41 | 67 | 9.3794 | 116.67 | 161.85
359 | 7 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 83.5 | 96.01 | 70 | 13.4066 | 123.21 | 156.84
360 | 7 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 75.54 | 84.99 | 62 | 8.0863 | 105.27 | 157.69
361 | 7 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 103.16 | 129.76 | 89 | 32.6149 | 188.43 | 154.59
362 | 7 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 85.88 | 103.49 | 62 | 17.7982 | 143.38 | 159.29
363 | 7 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 88.76 | 107.33 | 69 | 19.2401 | 144.47 | 152.18
364 | 7 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 87.58 | 104.51 | 69 | 18.9177 | 141.6 | 157.08
365 | 7 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 94.52 | 113.46 | 96 | 22.254 | 154.13 | 156.09
366 | 7 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 104.01 | 130.53 | 91 | 33.8565 | 188.99 | 155.49
367 | 7 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 113.47 | 146.64 | 147 | 41.6003 | 221.15 | 155.97
368 | 7 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 93.78 | 115.57 | 80 | 23.5018 | 160.99 | 153.79
369 | 7 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 79.77 | 93.31 | 50 | 11.5289 | 123.56 | 161.11
370 | 7 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 84.94 | 100.55 | 72 | 14.1913 | 134.79 | 161.72
371 | 7 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 101.4 | 129.67 | 93 | 30.6638 | 191.03 | 160.48
372 | 8 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 84.44 | 99.92 | 57 | 15.7219 | 132.83 | 159.63
373 | 8 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 72.97 | 82.96 | 54 | 7.1384 | 105.03 | 162.03
374 | 8 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 81.56 | 95.66 | 62 | 13.6362 | 126.61 | 160.2
375 | 8 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 73.34 | 80.96 | 32 | 4.3373 | 95.92 | 156.88
376 | 8 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 72.38 | 82.22 | 56 | 6.2214 | 103.8 | 163.23
377 | 8 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 82.1 | 95.7 | 65 | 12.778 | 124.57 | 158.21
378 | 8 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 83.47 | 97.12 | 64 | 11.9939 | 125.25 | 156.88
379 | 8 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 85.33 | 101.57 | 79 | 15.0921 | 135.91 | 157.59
380 | 8 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 83.91 | 96.47 | 75 | 12.9844 | 123.77 | 157.64
381 | 8 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 80.57 | 92.56 | 59 | 10.8741 | 118.53 | 156.03
382 | 8 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 83.42 | 98.48 | 83 | 15.1953 | 132.45 | 160.06
383 | 8 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 76.87 | 87.2 | 48 | 8.0308 | 108.43 | 157.45
384 | 8 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 85.05 | 98.23 | 88 | 13.6426 | 127.36 | 157.53
385 | 8 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 73.51 | 83.18 | 55 | 8.8748 | 106.51 | 162.4
386 | 8 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 77.02 | 86.29 | 63 | 6.9703 | 106.79 | 158.36
387 | 8 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 86.85 | 104.38 | 66 | 17.0908 | 141.13 | 160.86
388 | 8 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 90.96 | 110.34 | 78 | 20.8932 | 151.91 | 155.8
389 | 8 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 87.49 | 104.94 | 56 | 19.6926 | 146.8 | 160.46
390 | 8 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.09 | 87.44 | 44 | 8.0644 | 109.81 | 159.74
391 | 8 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 82.74 | 97.94 | 77 | 14.876 | 132.01 | 159.93
392 | 8 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 87.99 | 105.01 | 67 | 17.2711 | 140.98 | 158.18
393 | 8 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 82.26 | 95.81 | 55 | 14.2667 | 126.13 | 159.55
394 | 8 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 85.5 | 103.34 | 63 | 17.1665 | 141.64 | 159.49
395 | 8 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 81.92 | 97.72 | 40 | 15.1889 | 131.22 | 157.05
396 | 8 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 74.98 | 86.16 | 46 | 8.1458 | 110.77 | 162.32
397 | 8 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 86.34 | 105.73 | 64 | 18.741 | 150.18 | 163.23
398 | 8 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 69.63 | 77.46 | 45 | 2.6587 | 93.27 | 162.95
399 | 8 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 108.14 | 137.83 | 104 | 36.0878 | 202.78 | 160.97
400 | 8 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 84.9 | 101.83 | 71 | 15.4847 | 140.81 | 165.19
401 | 8 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 72.9 | 82.16 | 34 | 4.4809 | 100.19 | 160.76
402 | 8 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 77.15 | 89.7 | 42 | 8.7739 | 115.05 | 161.84
403 | 8 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 89.23 | 109.01 | 79 | 21.0238 | 152.32 | 159.75
404 | 8 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 74 | 85.53 | 40 | 7.5387 | 110.3 | 161.29
405 | 8 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 87.38 | 106.59 | 70 | 17.0984 | 145.01 | 159.93
406 | 8 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 82.88 | 98.39 | 52 | 14.9166 | 134.15 | 161.27
407 | 8 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 88.5 | 106.5 | 77 | 17.7773 | 144.24 | 161.97
408 | 8 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 75.1 | 86.43 | 50 | 7.8388 | 110.2 | 159.84
409 | 8 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 69.72 | 78.06 | 50 | 2.6273 | 94.99 | 163.04
410 | 8 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 79.95 | 92.91 | 76 | 11.1207 | 118.96 | 156.92
411 | 8 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 79.47 | 93.23 | 61 | 10.0925 | 122.62 | 162.35
412 | 8 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 90.45 | 108.65 | 62 | 20.2983 | 148.62 | 155.9
413 | 8 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 74.66 | 84.09 | 49 | 7.515 | 104.64 | 159.36
414 | 8 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 95.4 | 117.04 | 93 | 25.3906 | 163.21 | 153.55
415 | 8 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 80.89 | 95.56 | 57 | 12.998 | 128.18 | 158.96
416 | 8 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 90.8 | 110.41 | 69 | 21.2392 | 149.6 | 151.17
417 | 8 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 80.18 | 93.21 | 66 | 11.4425 | 121.22 | 159.32
418 | 8 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 109.06 | 139.43 | 108 | 36.5833 | 204.03 | 155.68
419 | 8 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 98.35 | 123.11 | 102 | 28.0573 | 178.39 | 160.77
420 | 8 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 110 | 140.68 | 113 | 38.1575 | 208.2 | 156.69
421 | 8 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 101.8 | 128.26 | 73 | 31.3513 | 183.81 | 150.56
422 | 8 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 88.07 | 107.63 | 69 | 19.7822 | 153.37 | 160.98
423 | 8 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 97.21 | 121.21 | 80 | 26.4459 | 173.78 | 162.22
424 | 8 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 120.94 | 161.76 | 114 | 50.0552 | 253.73 | 163.33
425 | 9 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 83.02 | 97.94 | 63 | 14.4364 | 130.76 | 160.32
426 | 9 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 73.47 | 84.19 | 47 | 7.9107 | 108.91 | 163.73
427 | 9 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 82.25 | 96.32 | 85 | 14.6833 | 126.95 | 157.98
428 | 9 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 75.48 | 83.94 | 29 | 6.5599 | 101.97 | 157.04
429 | 9 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 72.21 | 81.83 | 49 | 6.4186 | 103.3 | 163.38
430 | 9 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 84.52 | 100.95 | 48 | 15.6945 | 137.63 | 159.31
431 | 9 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 77.32 | 87.75 | 49 | 6.5875 | 108.43 | 158.28
432 | 9 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 87.83 | 105.07 | 79 | 17.7703 | 140.38 | 154.97
433 | 9 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 80.7 | 93.39 | 73 | 9.9198 | 118.85 | 158.46
434 | 9 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 80.88 | 93.16 | 55 | 11.5133 | 119.57 | 156.53
435 | 9 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 86.32 | 103.74 | 52 | 18.8379 | 144.93 | 160.97
436 | 9 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 80.41 | 93.74 | 69 | 11.6566 | 121.14 | 157.97
437 | 9 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 83.54 | 95.95 | 74 | 12.9008 | 122.36 | 155.63
438 | 9 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 70.1 | 78.77 | 32 | 6.2044 | 98.46 | 161.28
439 | 9 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 76.21 | 85.1 | 60 | 5.9468 | 103.83 | 158.38
440 | 9 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 77.38 | 88.38 | 65 | 7.6702 | 110.64 | 159.98
441 | 9 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 86.98 | 103.75 | 66 | 17.2682 | 141.11 | 157.96
442 | 9 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 81.43 | 95.22 | 64 | 13.7572 | 126.05 | 158.34
443 | 9 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 78.69 | 91.53 | 44 | 10.5855 | 117.35 | 159.17
444 | 9 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 81.57 | 96 | 75 | 14.2753 | 128.79 | 160
445 | 9 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 82.72 | 97.42 | 69 | 12.2221 | 127.37 | 160.58
446 | 9 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 80.92 | 93.36 | 64 | 13.0051 | 120.36 | 159.06
447 | 9 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 78.48 | 92.26 | 50 | 10.8264 | 121.85 | 162.1
448 | 9 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 79.88 | 94.28 | 44 | 13.4504 | 127.14 | 162.36
449 | 9 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 74.01 | 83.73 | 58 | 7.2934 | 104.74 | 161.42
450 | 9 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 80.57 | 93.73 | 64 | 13.3317 | 124.69 | 160.63
451 | 9 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 70 | 77.87 | 36 | 3.0496 | 93.6 | 162.23
452 | 9 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 88.37 | 106.16 | 97 | 16.6824 | 143.39 | 161.73
453 | 9 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 85.47 | 103.84 | 59 | 16.4925 | 145.12 | 163.72
454 | 9 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 77.59 | 89.65 | 32 | 9.4593 | 114.18 | 158.62
455 | 9 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 77.86 | 90.34 | 52 | 9.2772 | 115.29 | 161.01
456 | 9 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 90.81 | 111.85 | 83 | 22.4938 | 158.61 | 160.48
457 | 9 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 68.14 | 75.67 | 31 | 2.0991 | 89.93 | 160.54
458 | 9 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 95.66 | 119.89 | 91 | 25.2751 | 169.53 | 157.03
459 | 9 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 80.18 | 94.53 | 66 | 12.3184 | 125.61 | 159.43
460 | 9 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 86.63 | 104.1 | 79 | 16.121 | 139.16 | 161.02
461 | 9 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 76.69 | 88.65 | 59 | 9.1412 | 114 | 159.29
462 | 9 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 69.26 | 77.34 | 43 | 2.3306 | 93.61 | 162.88
463 | 9 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 82.08 | 96.34 | 70 | 13.8149 | 125.57 | 157.93
464 | 9 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 79.76 | 93.07 | 74 | 10.7268 | 121.22 | 161.68
465 | 9 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 80.36 | 92.64 | 72 | 10.4708 | 117.86 | 156.98
466 | 9 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 74.06 | 83.34 | 46 | 6.6309 | 103.02 | 158.98
467 | 9 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 97.9 | 121.6 | 93 | 27.6951 | 172.35 | 156.25
468 | 9 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 79.58 | 93.71 | 55 | 11.8921 | 124.13 | 158.74
469 | 9 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 82.75 | 98.35 | 44 | 13.7551 | 129.07 | 154.55
470 | 9 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 79.44 | 93.1 | 54 | 10.6148 | 122.59 | 161.12
471 | 9 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 101.04 | 125.49 | 99 | 28.92 | 176.18 | 152.25
472 | 9 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 94.91 | 116.49 | 104 | 24.5536 | 164.28 | 158.54
473 | 9 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 111.92 | 144.28 | 104 | 40.9853 | 214.72 | 154.41
474 | 9 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 83.89 | 99.57 | 82 | 13.3921 | 130.89 | 157.55
475 | 9 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 76.87 | 88.72 | 59 | 8.38 | 113.88 | 159.56
476 | 9 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 98.74 | 122.24 | 78 | 28.3986 | 174.09 | 157.67
477 | 9 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 105.11 | 135.86 | 100 | 34.4947 | 203.56 | 161.68
478 | 10 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 80.18 | 92.77 | 76 | 11.4403 | 119.68 | 158.72
479 | 10 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 80.21 | 92.41 | 67 | 14.0593 | 122.05 | 160.64
480 | 10 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 94.73 | 112.96 | 94 | 26.7029 | 156.32 | 153.55
481 | 10 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 73.38 | 81.02 | 45 | 4.0068 | 95.67 | 157.28
482 | 10 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 82.52 | 95.87 | 73 | 16.5858 | 129.04 | 160.35
483 | 10 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 89.41 | 105.68 | 84 | 20.0168 | 144.7 | 158.99
484 | 10 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 90.86 | 104.26 | 66 | 19.7686 | 135.6 | 152.24
485 | 10 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 87.03 | 102.59 | 69 | 16.4471 | 136.69 | 158.6
486 | 10 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 94.5 | 110.96 | 106 | 23.507 | 147.14 | 149.96
487 | 10 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 83.22 | 95.93 | 63 | 13.7877 | 125.16 | 156.23
488 | 10 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 90.77 | 109.61 | 64 | 22.7769 | 154.69 | 159.57
489 | 10 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 87.2 | 101.58 | 77 | 17.898 | 135.61 | 159.94
490 | 10 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 102.15 | 122.92 | 91 | 31.3318 | 173.19 | 152.84
491 | 10 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 71.95 | 80.74 | 46 | 7.6097 | 100 | 158.54
492 | 10 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 96.38 | 111.85 | 81 | 26.3139 | 151.88 | 152.82
493 | 10 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 82.49 | 95.81 | 62 | 12.8966 | 123.23 | 159.06
494 | 10 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 99.53 | 121.36 | 83 | 29.5652 | 173.87 | 158.76
495 | 10 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 81.7 | 93.33 | 66 | 13.7144 | 120.6 | 157.07
496 | 10 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 80.82 | 93.37 | 75 | 12.2664 | 120.1 | 157.29
497 | 10 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 81.56 | 96.39 | 71 | 13.4402 | 130.38 | 162.32
498 | 10 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 93.85 | 111.92 | 97 | 23.2229 | 150.91 | 154.18
499 | 10 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 77.87 | 88.96 | 60 | 9.9673 | 112.73 | 158.9
500 | 10 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 80.35 | 92.34 | 57 | 12.6128 | 119.06 | 157.9
501 | 10 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 76.56 | 87.22 | 52 | 9.8542 | 108.96 | 156.25
502 | 10 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 81.81 | 93.95 | 66 | 15.01 | 121.88 | 158.55
503 | 10 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 84.26 | 98.85 | 62 | 17.6648 | 133.13 | 158.12
504 | 10 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 74.95 | 84.28 | 45 | 7.627 | 105.5 | 161.59
505 | 10 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 103.28 | 126.15 | 109 | 30.9149 | 177.33 | 158.23
506 | 10 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 91.31 | 111.15 | 78 | 21.9842 | 157.1 | 161.9
507 | 10 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 74.46 | 83.87 | 34 | 6.3476 | 103.3 | 161.34
508 | 10 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 83.39 | 96.98 | 73 | 14.637 | 126.64 | 157.73
509 | 10 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 97.67 | 121.12 | 98 | 29.6663 | 176.21 | 157.9
510 | 10 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 77.71 | 88.33 | 68 | 11.0472 | 110.57 | 154.29
511 | 10 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 94.1 | 116.03 | 95 | 23.6901 | 163.77 | 160.18
512 | 10 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 88.97 | 105.75 | 68 | 21.0271 | 146.17 | 158.27
513 | 10 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 89.06 | 106.79 | 77 | 18.3382 | 143.19 | 160.24
514 | 10 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 86.54 | 103.73 | 71 | 18.1879 | 143.73 | 157.16
515 | 10 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 81.13 | 92.97 | 80 | 13.7385 | 121.25 | 160.11
516 | 10 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 80.42 | 92.66 | 66 | 11.6072 | 118.43 | 157.06
517 | 10 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 89.87 | 107.71 | 64 | 21.0738 | 151.26 | 161.65
518 | 10 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 95.31 | 112.63 | 87 | 24.8166 | 153.11 | 155.31
519 | 10 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 80.24 | 91.25 | 63 | 13.0821 | 116.83 | 157.31
520 | 10 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 107.42 | 134.37 | 116 | 37.2029 | 196.28 | 154.03
521 | 10 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 91.03 | 108.96 | 67 | 23.2284 | 149.63 | 152.3
522 | 10 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 88.43 | 104.41 | 65 | 18.7485 | 139.26 | 154.46
523 | 10 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 90.15 | 107.93 | 92 | 20.8691 | 148.03 | 159.78
524 | 10 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 104.6 | 128.99 | 108 | 32.1236 | 180.58 | 151.38
525 | 10 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 105.56 | 133.53 | 106 | 34.7367 | 197.6 | 157.55
526 | 10 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 111.3 | 142.36 | 127 | 39.9959 | 211.97 | 155.23
527 | 10 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 88.57 | 105.74 | 95 | 17.9789 | 140.88 | 154.46
528 | 10 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 89.9 | 107.83 | 69 | 21.5244 | 147.53 | 154.28
529 | 10 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 90.39 | 108.38 | 84 | 19.5185 | 146.58 | 159.02
530 | 10 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 108.35 | 140.06 | 100 | 37.25 | 212.42 | 162.35
531 | 11 | 1 | 52820.8166 | 10568.4761 | 6040.5344 | 2609.5405 | 83.45 | 98.17 | 71 | 14.9412 | 130.55 | 159.71
532 | 11 | 2 | 52106.2817 | 10049.5899 | 5827.6874 | 2237.6918 | 75.25 | 86.47 | 54 | 9.276 | 112.73 | 163.31
533 | 11 | 3 | 52750.2942 | 10816.0437 | 6056.288 | 2735.3822 | 83.45 | 98.57 | 80 | 15.3808 | 131.53 | 159.1
534 | 11 | 4 | 53139.2926 | 10049.5899 | 6115.5609 | 2345.4358 | 70.07 | 76.48 | 31 | 0.94285 | 88.03 | 158.34
535 | 11 | 5 | 52149.3 | 9786.2795 | 5886.7209 | 2121.1437 | 79.01 | 91.01 | 62 | 12.7988 | 119.93 | 161.96
536 | 11 | 6 | 53001.7669 | 10568.4761 | 6143.8221 | 2609.5405 | 84.66 | 99.99 | 65 | 15.4726 | 132.67 | 158.13
537 | 11 | 7 | 53372.7989 | 10568.4761 | 6293.0025 | 2609.5405 | 83.77 | 96.93 | 68 | 12.4177 | 124.9 | 158.09
538 | 11 | 8 | 53552.9282 | 10950.35 | 6350.0442 | 2646.6841 | 82.64 | 96.83 | 88 | 12.3176 | 127.69 | 159.68
539 | 11 | 9 | 53024.0638 | 10568.4761 | 6159.3655 | 2609.5405 | 87.37 | 102.23 | 94 | 16.4711 | 134.28 | 155.74
540 | 11 | 10 | 53327.5283 | 10568.4761 | 6284.9516 | 2609.5405 | 80.74 | 93.46 | 68 | 11.3433 | 119.73 | 155.03
541 | 11 | 11 | 52739.6327 | 10816.0437 | 6055.4422 | 2735.3822 | 88.16 | 106.96 | 65 | 20.5358 | 152.19 | 161.74
542 | 11 | 12 | 52835.4948 | 10950.35 | 6109.1306 | 2646.6841 | 86.16 | 101.64 | 59 | 17.1994 | 134.95 | 155.04
543 | 11 | 13 | 53242.0748 | 10950.35 | 6239.8488 | 2646.6841 | 92.11 | 109.22 | 73 | 21.5447 | 146.94 | 151.8
544 | 11 | 14 | 52275.9287 | 9720.6388 | 5879.8138 | 2121.1437 | 71.9 | 81.52 | 43 | 7.7952 | 102.77 | 160.12
545 | 11 | 15 | 53209.9274 | 10816.0437 | 6213.4777 | 2735.3822 | 74.84 | 83.38 | 54 | 4.7197 | 101.51 | 159.14
546 | 11 | 16 | 53320.2759 | 10950.35 | 6228.2632 | 2646.6841 | 86.83 | 103.17 | 55 | 17.1424 | 137.3 | 159.07
547 | 11 | 17 | 53306.1854 | 11233.6813 | 6230.2995 | 2636.8304 | 86.53 | 103.21 | 86 | 16.1635 | 139.31 | 158.15
548 | 11 | 18 | 52911.4474 | 10568.4761 | 6119.8997 | 2609.5405 | 76 | 87.45 | 63 | 7.9983 | 110.59 | 159.18
549 | 11 | 19 | 52913.7397 | 10568.4761 | 6100.9139 | 2609.5405 | 76.46 | 87.63 | 64 | 8.0335 | 109.76 | 159.81
550 | 11 | 20 | 52877.4416 | 10950.35 | 6120.9353 | 2646.6841 | 79.15 | 92.75 | 72 | 11.7852 | 121.75 | 159.76
551 | 11 | 21 | 53408.1679 | 10950.35 | 6233.707 | 2646.6841 | 89.51 | 107.99 | 78 | 18.9375 | 146.79 | 158.96
552 | 11 | 22 | 52928.331 | 10816.0437 | 6120.1617 | 2735.3822 | 78.82 | 91.1 | 62 | 10.8419 | 116.75 | 159.09
553 | 11 | 23 | 52521.0355 | 11233.6813 | 6009.3172 | 2636.8304 | 78.03 | 90.75 | 54 | 10.1746 | 118.43 | 161.9
554 | 11 | 24 | 52683.5454 | 10568.4761 | 5997.0065 | 2609.5405 | 79.89 | 93.65 | 43 | 13.2014 | 122.67 | 157.8
555 | 11 | 25 | 52373.8165 | 10816.0437 | 5935.3278 | 2735.3822 | 72.23 | 82.37 | 29 | 5.86 | 122.67 | 157.8
556 | 11 | 26 | 52880.5597 | 10950.35 | 6096.3056 | 2646.6841 | 78.03 | 90.62 | 65 | 10.4613 | 122.67 | 157.8
557 | 11 | 27 | 52344.4649 | 10049.5899 | 5936.2459 | 2345.4358 | 78.9 | 90.52 | 48 | 11.9833 | 122.67 | 157.8
558 | 11 | 28 | 53539.0678 | 10950.35 | 6344.57 | 2735.3822 | 97.3 | 118.74 | 110 | 25.5303 | 122.67 | 157.8
559 | 11 | 29 | 52887.5062 | 11233.6813 | 6065.8847 | 2675.8229 | 95 | 116.63 | 80 | 25.7027 | 122.67 | 157.8
560 | 11 | 30 | 52623.3362 | 10486.0958 | 5963.4659 | 2354.8348 | 73.84 | 83.97 | 38 | 5.7196 | 122.67 | 157.8
561 | 11 | 31 | 52710.4161 | 10568.4761 | 5968.5922 | 2609.5405 | 77.02 | 89.1 | 73 | 8.2531 | 122.67 | 157.8
562 | 11 | 32 | 53144.7809 | 11233.6813 | 6212.2239 | 2646.6841 | 91.9 | 113.81 | 85 | 23.8082 | 122.67 | 157.8
563 | 11 | 33 | 52712.7949 | 10568.4761 | 5940.9218 | 2609.5405 | 71 | 80.27 | 31 | 4.909 | 122.67 | 157.8
564 | 11 | 34 | 53294.4975 | 11117.174 | 6270.569 | 2735.3822 | 98.49 | 123.29 | 98 | 28.4915 | 122.67 | 157.8
565 | 11 | 35 | 53087.0289 | 11325.2829 | 6128.6751 | 2646.6841 | 83.99 | 99.39 | 77 | 15.7697 | 122.67 | 157.8
566 | 11 | 36 | 53209.0202 | 10950.35 | 6203.9339 | 2735.3822 | 83.39 | 98.3 | 66 | 13.1439 | 122.67 | 157.8
567 | 11 | 37 | 52754.0903 | 10486.0958 | 6002.8239 | 2354.8348 | 76.56 | 88.78 | 39 | 9.0257 | 122.67 | 157.8
568 | 11 | 38 | 52809.8282 | 10950.35 | 5970.6625 | 2646.6841 | 82.77 | 97.69 | 65 | 15.5064 | 122.67 | 157.8
569 | 11 | 39 | 53004.4142 | 10950.35 | 6143.0361 | 2646.6841 | 86.28 | 101.83 | 98 | 17.2809 | 122.67 | 157.8
570 | 11 | 40 | 52823.3891 | 10816.0437 | 6076.2473 | 2735.3822 | 84.44 | 100.94 | 60 | 15.7311 | 122.67 | 157.8
571 | 11 | 41 | 53099.6578 | 10816.0437 | 6151.127 | 2735.3822 | 87.67 | 104.39 | 76 | 17.9179 | 122.67 | 157.8
572 | 11 | 42 | 52673.6214 | 10049.5899 | 5994.3939 | 2239.3945 | 77.79 | 88.21 | 67 | 10.7939 | 122.67 | 157.8
573 | 11 | 43 | 53162.6782 | 10486.0958 | 6135.1142 | 2373.0643 | 103.34 | 131.15 | 105 | 33.536 | 122.67 | 157.8
574 | 11 | 44 | 52975.734 | 10950.35 | 6106.9926 | 2735.3822 | 86.28 | 103.9 | 69 | 18.4573 | 122.67 | 157.8
575 | 11 | 45 | 53271.1131 | 10568.4761 | 6239.5682 | 2609.5405 | 89.93 | 108.84 | 73 | 19.9393 | 122.67 | 157.8
576 | 11 | 46 | 53181.3778 | 10950.35 | 6153.5169 | 2735.3822 | 83.79 | 97.85 | 57 | 14.9693 | 122.67 | 157.8
577 | 11 | 47 | 53739.8893 | 10950.35 | 6373.9722 | 2735.3822 | 98.17 | 121.5 | 110 | 25.5608 | 122.67 | 157.8
578 | 11 | 48 | 53191.2491 | 10950.35 | 6226.4007 | 2735.3822 | 106.89 | 136.34 | 87 | 36.9672 | 122.67 | 157.8
579 | 11 | 49 | 53468.7994 | 11078.865 | 6312.2704 | 2735.3822 | 113.34 | 145.8 | 107 | 41.8783 | 122.67 | 157.8
580 | 11 | 50 | 53335.0627 | 10816.0437 | 6266.0973 | 2735.3822 | 87.63 | 105.62 | 80 | 17.3712 | 122.67 | 157.8
581 | 11 | 51 | 53007.3918 | 10568.4761 | 6120.9535 | 2609.5405 | 76.32 | 87.92 | 62 | 7.8864 | 122.67 | 157.8
582 | 11 | 52 | 53185.0648 | 11325.2829 | 6155.6027 | 2594.3041 | 82.51 | 97.69 | 49 | 12.2182 | 122.67 | 157.8
583 | 11 | 53 | 53214.614 | 11233.6813 | 6294.0904 | 2794.2779 | 104.99 | 134.03 | 104 | 34.4372 | 122.67 | 157.8