## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 594. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 54. A stochastic demand and renewable energy resource model is used to develop 54 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP + Small interval meter load (GWh) | The annual energy requirements for the given NSLP + Small interval meter load and given weather set.
| Annual peak demand - NSLP + Small interval meter load (MW) | The annual peak demand for the given NSLP + Small interval meter load and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP + Small interval meter load ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP + Small interval meter load and simulation number - using the corresponding hourly NSLP loads as the weights.
Hedged price (nominal at the regional reference node) | Annual hedged price - NSLP + Small interval meter load ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP + Small interval meter load and simulation number.

## Data
Summary of results for 594 market simulations for 2025-26 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | Hedged price (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP + Small interval meter load(GWh) | Annual peak demand - Energex NSLP + Small interval meter load (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional Load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP + Small interval meter load ($/MWh) | Annual hedged price - Energex NSLP + Small interval meter load ($/MWh)
1 | 1 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 134.42 | 158.67 | 263 | 33.2233 | 190.56 | 143.02
2 | 1 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 113.7 | 129.37 | 223 | 15.332 | 147.77 | 154.81
3 | 1 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 123.98 | 143.86 | 260 | 24.7318 | 165.74 | 148.17
4 | 1 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 128.72 | 152.07 | 217 | 30.6869 | 175.37 | 149.69
5 | 1 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 120.72 | 142.4 | 200 | 22.6884 | 170.55 | 147.01
6 | 1 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 131.11 | 156.19 | 230 | 31.8547 | 189.18 | 143.16
7 | 1 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 131.29 | 157.3 | 253 | 32.4054 | 189.17 | 141.56
8 | 1 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 137.83 | 167.16 | 259 | 37.4001 | 204.47 | 134.43
9 | 1 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 120.51 | 139.57 | 237 | 22.6121 | 159.52 | 146.36
10 | 1 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 147.63 | 181.57 | 304 | 46.2958 | 227.68 | 135.01
11 | 1 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 133.33 | 156.83 | 214 | 35.1246 | 187.02 | 143.26
12 | 1 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 122.58 | 142.17 | 260 | 21.9403 | 165.81 | 148.91
13 | 1 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 131.75 | 157.37 | 279 | 31.6334 | 190.82 | 140.43
14 | 1 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 120.69 | 139.56 | 214 | 21.8879 | 163.87 | 149.97
15 | 1 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 126.55 | 149.42 | 199 | 27.5183 | 178.72 | 148.01
16 | 1 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 131.42 | 156.53 | 236 | 28.9237 | 188.08 | 150.26
17 | 1 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 139.94 | 172.13 | 325 | 37.1249 | 214.2 | 138.6
18 | 1 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 116.64 | 133.17 | 211 | 17.7594 | 153.34 | 156.74
19 | 1 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 131.21 | 156.37 | 229 | 33.0458 | 183.95 | 135.44
20 | 1 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 130 | 151.09 | 215 | 29.5546 | 179.9 | 150.45
21 | 1 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 124.04 | 145.71 | 227 | 23.5826 | 169.48 | 149.45
22 | 1 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 134.38 | 163.09 | 233 | 35.0258 | 203.67 | 147.8
23 | 1 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 115.13 | 133.25 | 205 | 17.2722 | 151.97 | 147.44
24 | 1 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 114.46 | 133.48 | 227 | 16.5723 | 156.4 | 153.84
25 | 1 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 124.34 | 145.76 | 207 | 25.8795 | 172.24 | 151.22
26 | 1 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 111.56 | 128.41 | 176 | 12.7558 | 146.39 | 156.48
27 | 1 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 118.31 | 135.55 | 211 | 20.737 | 156.77 | 150.09
28 | 1 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 138.27 | 166.53 | 261 | 37.4413 | 205.48 | 139.93
29 | 1 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 125.98 | 151.13 | 200 | 30.7247 | 183.95 | 139.83
30 | 1 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 111.05 | 128.96 | 154 | 16.2031 | 147.27 | 145.54
31 | 1 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 114.17 | 132.29 | 186 | 17.5277 | 151.83 | 153.82
32 | 1 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 132.02 | 159 | 243 | 31.7362 | 192.11 | 146.58
33 | 1 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 120.92 | 140.27 | 205 | 23.6822 | 163.19 | 145.75
34 | 1 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 147.62 | 183.55 | 289 | 46.0371 | 231.73 | 136.28
35 | 1 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 129.91 | 157.93 | 198 | 31.9585 | 193.83 | 153.8
36 | 1 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 118.16 | 138.05 | 200 | 18.4009 | 160.22 | 153.94
37 | 1 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 115.61 | 133.69 | 205 | 18.2263 | 152.36 | 148.56
38 | 1 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 123.43 | 146.41 | 217 | 27.7557 | 174 | 151.02
39 | 1 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 139.24 | 168.49 | 264 | 40.2549 | 207.75 | 135.52
40 | 1 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 122.4 | 146.14 | 199 | 25.6824 | 171.38 | 142.87
41 | 1 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 126.65 | 148.47 | 198 | 28.7364 | 174.04 | 144.68
42 | 1 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 117.45 | 136.65 | 182 | 20.6319 | 163.15 | 152.39
43 | 1 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 129.95 | 154.39 | 244 | 29.7716 | 181.93 | 143.46
44 | 1 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 120.97 | 141.95 | 225 | 22.7245 | 164.03 | 144.92
45 | 1 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 128.95 | 152.79 | 232 | 28.6231 | 182.9 | 143.27
46 | 1 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 126.13 | 149.61 | 224 | 28.5779 | 179.17 | 146.82
47 | 1 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 130.88 | 157.12 | 261 | 30.896 | 184.7 | 141.28
48 | 1 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 133.23 | 162.29 | 228 | 34.104 | 196.9 | 138.39
49 | 1 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 132.62 | 157.28 | 222 | 33.1127 | 186.54 | 144.98
50 | 1 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 132.45 | 159.1 | 252 | 30.0398 | 189.57 | 140.85
51 | 1 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 118.89 | 138.72 | 182 | 20.0782 | 162.19 | 149.94
52 | 1 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 119.78 | 141.17 | 174 | 24.0372 | 167.77 | 150.18
53 | 1 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 117.04 | 136.59 | 174 | 19.3305 | 159.41 | 145.11
54 | 1 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 145.46 | 180.74 | 278 | 46.373 | 222.89 | 125.22
55 | 2 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 141.75 | 169.17 | 280 | 40.5684 | 205.53 | 138.17
56 | 2 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 117.4 | 134.63 | 193 | 18.9065 | 155.5 | 152.99
57 | 2 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 125.73 | 146.25 | 273 | 26.2002 | 169.84 | 147.79
58 | 2 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 126.22 | 148.77 | 244 | 27.8803 | 171.83 | 149.22
59 | 2 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 124.1 | 147.48 | 222 | 25.5579 | 178.84 | 146.27
60 | 2 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 129.1 | 152.68 | 263 | 29.6343 | 180.82 | 144.92
61 | 2 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 129.67 | 154.3 | 222 | 30.5666 | 184.93 | 143.2
62 | 2 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 139.43 | 169.7 | 227 | 39.0189 | 209.63 | 134.52
63 | 2 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 118.19 | 136.12 | 209 | 20.3503 | 155.64 | 144.72
64 | 2 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 139.64 | 169.59 | 277 | 39.0753 | 208.17 | 141.49
65 | 2 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 128.02 | 149.89 | 232 | 30.5199 | 177.9 | 142.47
66 | 2 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 125.44 | 146.67 | 243 | 25.0035 | 172.33 | 144.88
67 | 2 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 137.48 | 164.42 | 268 | 37.0464 | 201.14 | 137.25
68 | 2 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 119.8 | 137.71 | 243 | 21.6056 | 159.55 | 148.68
69 | 2 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 123.58 | 143.8 | 194 | 23.9052 | 169.36 | 151.81
70 | 2 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 128.25 | 152.89 | 232 | 26.2255 | 183.89 | 150.52
71 | 2 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 144.45 | 178.03 | 304 | 41.9537 | 221.48 | 134.25
72 | 2 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 114.67 | 130.71 | 239 | 15.281 | 149.65 | 158.4
73 | 2 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 126.55 | 150.47 | 239 | 28.5791 | 176.76 | 137.37
74 | 2 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 129.61 | 150.26 | 219 | 28.883 | 179.02 | 149.54
75 | 2 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 120.99 | 141.51 | 239 | 20.7352 | 163.68 | 151.81
76 | 2 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 132.25 | 159.97 | 261 | 32.7939 | 198.29 | 148.48
77 | 2 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 117.15 | 135.98 | 225 | 18.8728 | 156.02 | 148.06
78 | 2 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 112.3 | 129.88 | 250 | 14.236 | 148.83 | 154.1
79 | 2 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 119 | 138.15 | 213 | 20.6982 | 161.46 | 152.61
80 | 2 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 109.58 | 125.6 | 145 | 11.123 | 141.68 | 156.59
81 | 2 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 115.64 | 132.32 | 161 | 18.842 | 152.95 | 151.55
82 | 2 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 142.6 | 173.27 | 272 | 41.7334 | 216.59 | 137.12
83 | 2 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 124.14 | 149.34 | 180 | 30.0117 | 183.3 | 140.51
84 | 2 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 111.56 | 129.92 | 171 | 16.9655 | 150.15 | 146.75
85 | 2 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 115.94 | 134.91 | 170 | 19.8671 | 155.74 | 152.69
86 | 2 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 129.01 | 154.92 | 251 | 28.7716 | 186.17 | 147.85
87 | 2 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 125.76 | 148.28 | 218 | 28.0658 | 176.15 | 141.49
88 | 2 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 142.2 | 174.74 | 300 | 40.2575 | 217.42 | 137.75
89 | 2 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 122.81 | 146.13 | 187 | 24.954 | 174.88 | 158.51
90 | 2 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 122.97 | 145.44 | 215 | 23.0931 | 172.43 | 150.42
91 | 2 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 116.61 | 134.72 | 221 | 18.6349 | 154.16 | 147.52
92 | 2 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 122.83 | 146.13 | 197 | 27.3704 | 175.5 | 151.48
93 | 2 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 135.15 | 161.65 | 279 | 36.1932 | 196.44 | 137.12
94 | 2 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 118.65 | 140.55 | 205 | 22.9368 | 164.2 | 145.5
95 | 2 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 120.52 | 140.59 | 184 | 23.2737 | 164 | 147.93
96 | 2 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 115.07 | 132.56 | 199 | 18.4202 | 154.39 | 151.42
97 | 2 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 133.63 | 159.88 | 243 | 33.2846 | 190.59 | 141.22
98 | 2 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 119.59 | 139.84 | 240 | 20.6392 | 161.11 | 148.86
99 | 2 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 127.64 | 150.89 | 217 | 28.1813 | 179.78 | 141.38
100 | 2 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 125.24 | 148.41 | 212 | 28.0919 | 177.42 | 146.15
101 | 2 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 136.38 | 165.25 | 252 | 36.6162 | 196.26 | 137.38
102 | 2 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 134.62 | 164.09 | 215 | 36.4234 | 200.2 | 134.64
103 | 2 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 136.87 | 164.67 | 245 | 36.5727 | 198.93 | 146.63
104 | 2 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 130.31 | 154.91 | 270 | 28.0741 | 181.49 | 140.57
105 | 2 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 121.52 | 142.39 | 181 | 23.0389 | 167.44 | 148.29
106 | 2 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 119.54 | 140.8 | 168 | 23.4097 | 166.97 | 150.35
107 | 2 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 119.2 | 139.87 | 193 | 20.7922 | 163.76 | 142.66
108 | 2 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 152.24 | 191.09 | 269 | 53.3406 | 238.24 | 117.83
109 | 3 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 134.48 | 162.14 | 271 | 33.3995 | 198.18 | 139.05
110 | 3 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 117.06 | 134.54 | 217 | 18.6776 | 154.47 | 150.09
111 | 3 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 127.58 | 150.82 | 226 | 29.2102 | 177.21 | 139.78
112 | 3 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 120.99 | 142.05 | 217 | 22.0815 | 164.74 | 154.14
113 | 3 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 125.77 | 149.98 | 228 | 27.4251 | 182.97 | 146.93
114 | 3 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 138.39 | 161.77 | 233 | 38.8969 | 192.47 | 133.18
115 | 3 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 126.61 | 151.68 | 215 | 27.1025 | 181.23 | 149
116 | 3 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 140.62 | 170.36 | 235 | 39.9902 | 209.07 | 136.67
117 | 3 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 116.52 | 133.86 | 207 | 19.5303 | 151.43 | 144.52
118 | 3 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 141.49 | 175.93 | 249 | 40.0555 | 220.96 | 135.97
119 | 3 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 130.18 | 154.95 | 206 | 33.3537 | 185.01 | 142.24
120 | 3 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 128 | 151.74 | 222 | 27.476 | 179.94 | 141.58
121 | 3 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 132.48 | 159.21 | 228 | 32.8375 | 193.2 | 142.58
122 | 3 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 116.14 | 134.62 | 216 | 18.0269 | 156.79 | 150.65
123 | 3 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 118.37 | 136.22 | 198 | 18.6683 | 155.91 | 154.35
124 | 3 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 124.46 | 147.69 | 220 | 22.7725 | 174.2 | 149.56
125 | 3 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 141.14 | 172.61 | 297 | 38.3435 | 211.74 | 133.36
126 | 3 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 114.73 | 131.54 | 171 | 17.1925 | 151.1 | 153.05
127 | 3 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 123.7 | 145.59 | 234 | 26.6402 | 169.77 | 141.36
128 | 3 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 121.15 | 139.4 | 193 | 20.6902 | 158.5 | 149.04
129 | 3 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 122.91 | 144.64 | 241 | 22.4688 | 168.4 | 148.69
130 | 3 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 124.39 | 148.5 | 197 | 25.7375 | 178.75 | 148.35
131 | 3 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 117.51 | 137.28 | 204 | 19.2321 | 157.89 | 145.07
132 | 3 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 115.98 | 136.59 | 173 | 18.649 | 160.53 | 147.5
133 | 3 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 114.27 | 132.9 | 187 | 15.711 | 154.19 | 152.96
134 | 3 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 112.82 | 131.14 | 156 | 15.4344 | 150.67 | 153.06
135 | 3 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 122.58 | 144.8 | 215 | 26.0786 | 173.09 | 143.57
136 | 3 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 141.22 | 172.4 | 280 | 40.453 | 214.95 | 137.7
137 | 3 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 132.77 | 162.27 | 220 | 37.2897 | 200.53 | 134.34
138 | 3 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 119.43 | 141.53 | 197 | 23.8755 | 163.43 | 135.1
139 | 3 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 117.75 | 138.45 | 186 | 22.0724 | 162.83 | 145.58
140 | 3 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 127.31 | 152.37 | 203 | 27.8668 | 181.66 | 145.95
141 | 3 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 120.57 | 142.56 | 184 | 23.8482 | 167.54 | 140.74
142 | 3 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 151.79 | 190.29 | 280 | 50.1887 | 243.48 | 130.27
143 | 3 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 123.46 | 146.36 | 194 | 26.0345 | 172.81 | 145.45
144 | 3 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 127.11 | 151 | 172 | 27.9975 | 177.43 | 145.53
145 | 3 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 120.07 | 140.34 | 189 | 23.1717 | 162.84 | 133.24
146 | 3 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 125.17 | 149.83 | 203 | 30.0811 | 179.21 | 144.16
147 | 3 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 130.63 | 156.18 | 212 | 32.2543 | 187.54 | 136.38
148 | 3 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 123.51 | 148.29 | 217 | 26.3117 | 175.4 | 140.46
149 | 3 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 127.11 | 152.61 | 197 | 29.9049 | 184.82 | 139.14
150 | 3 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 107.87 | 123.61 | 181 | 11.7088 | 141.82 | 154.05
151 | 3 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 130.37 | 154.08 | 221 | 32.0586 | 184.68 | 140.64
152 | 3 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 143.22 | 179.15 | 244 | 45.8494 | 224 | 131.64
153 | 3 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 124.68 | 144.59 | 262 | 24.3427 | 166.4 | 143.24
154 | 3 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 127.63 | 152.2 | 223 | 31.9636 | 182.01 | 138.19
155 | 3 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 138.85 | 170.79 | 236 | 39.6919 | 207.18 | 131.47
156 | 3 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 137.16 | 168.04 | 203 | 39.1987 | 207.71 | 131.49
157 | 3 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 127.97 | 153.42 | 233 | 28.8154 | 181.87 | 145.27
158 | 3 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 137.68 | 168.22 | 222 | 36.1115 | 203.8 | 137.86
159 | 3 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 134 | 163.32 | 207 | 34.5907 | 202.21 | 136.57
160 | 3 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 122.14 | 144.28 | 202 | 26.3068 | 173 | 143.31
161 | 3 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 109.61 | 126.29 | 190 | 12.3051 | 145.1 | 152.25
162 | 3 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 158.89 | 206.64 | 243 | 60.1225 | 272.17 | 121.24
163 | 4 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 140.65 | 169.75 | 250 | 39.6153 | 204.48 | 131.31
164 | 4 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 111.64 | 127.06 | 187 | 14.1211 | 143.94 | 154.26
165 | 4 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 133.76 | 158.59 | 251 | 33.9426 | 185.21 | 141.8
166 | 4 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 122.7 | 142.7 | 212 | 25.1581 | 163.06 | 149.48
167 | 4 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 122.58 | 144.35 | 212 | 22.8628 | 172.03 | 150.11
168 | 4 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 127.15 | 147.38 | 203 | 27.3591 | 170.89 | 143.63
169 | 4 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 134.01 | 162.78 | 273 | 33.9333 | 194.82 | 138.42
170 | 4 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 137.57 | 167.07 | 283 | 36.9199 | 202.28 | 136.68
171 | 4 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 116.91 | 134.37 | 179 | 20.7967 | 153.04 | 146.06
172 | 4 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 132.86 | 161.67 | 231 | 31.0355 | 199.49 | 147.13
173 | 4 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 124.73 | 145.39 | 244 | 26.9216 | 169.02 | 143.45
174 | 4 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 121.48 | 142.15 | 234 | 20.1545 | 169.2 | 152.12
175 | 4 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 128.81 | 153.62 | 274 | 28.3878 | 182.76 | 142.87
176 | 4 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 124.93 | 147.37 | 231 | 26.5046 | 175.37 | 148.25
177 | 4 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 124.5 | 144.38 | 229 | 24.0798 | 166.9 | 147.55
178 | 4 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 127.53 | 151.85 | 242 | 25.5224 | 180.32 | 150.99
179 | 4 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 142.91 | 175 | 291 | 39.9132 | 214.92 | 133.78
180 | 4 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 112.52 | 129.18 | 209 | 13.9348 | 145.62 | 154.31
181 | 4 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 123.1 | 145.32 | 220 | 24.7387 | 170.08 | 142.38
182 | 4 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 120.81 | 138.51 | 238 | 19.861 | 157.76 | 152.71
183 | 4 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 128.55 | 151.25 | 324 | 26.6605 | 175.34 | 146.53
184 | 4 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 124.91 | 150.62 | 205 | 24.7538 | 183.48 | 152.24
185 | 4 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 120.04 | 139.6 | 224 | 21.526 | 161.44 | 146.26
186 | 4 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 111.29 | 128.25 | 169 | 13.5148 | 146.66 | 154.74
187 | 4 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 118.27 | 137.89 | 219 | 19.1358 | 158.6 | 153.84
188 | 4 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 122 | 144.43 | 209 | 23.4958 | 168.93 | 147.53
189 | 4 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 120.72 | 139.34 | 201 | 23.043 | 161.02 | 144.96
190 | 4 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 141 | 171.5 | 292 | 39.7423 | 213.53 | 141.92
191 | 4 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 121.19 | 143.8 | 218 | 25.7939 | 170.59 | 144.57
192 | 4 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 113.56 | 132.25 | 176 | 17.8992 | 151.22 | 150.36
193 | 4 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 120.09 | 141.68 | 163 | 24.1367 | 166.8 | 146.06
194 | 4 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 134.82 | 165.15 | 253 | 34.9377 | 201.93 | 144.52
195 | 4 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 122.52 | 143.37 | 226 | 25.2021 | 166.12 | 144.27
196 | 4 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 134.65 | 163.58 | 265 | 32.5173 | 201.57 | 143.6
197 | 4 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 120.31 | 140.39 | 203 | 21.3657 | 163 | 149.3
198 | 4 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 142.1 | 175.09 | 257 | 42.3716 | 216.48 | 140.04
199 | 4 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 122.77 | 143.49 | 184 | 24.5476 | 166.84 | 143.75
200 | 4 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 117.68 | 137.63 | 169 | 21.7493 | 159.86 | 154.73
201 | 4 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 139.48 | 166.83 | 286 | 39.6534 | 200.68 | 135.99
202 | 4 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 127.56 | 153.93 | 231 | 30.7285 | 181.58 | 136.66
203 | 4 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 125.9 | 147.58 | 204 | 28.9671 | 173.44 | 135.94
204 | 4 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 122 | 144.6 | 175 | 24.8888 | 174.25 | 144.86
205 | 4 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 125.33 | 147.39 | 206 | 25.4824 | 170.34 | 143.98
206 | 4 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 130.94 | 156.67 | 259 | 31.9176 | 185.36 | 141.82
207 | 4 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 140.49 | 166.02 | 290 | 40.1289 | 194.51 | 131.89
208 | 4 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 123.13 | 144.79 | 254 | 25.6682 | 168.64 | 148.71
209 | 4 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 135.17 | 163.8 | 268 | 34.9489 | 195.2 | 134.85
210 | 4 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 126.3 | 151.61 | 201 | 28.3364 | 181.53 | 140.45
211 | 4 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 139.6 | 168.53 | 246 | 39.3735 | 203.24 | 139.54
212 | 4 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 153.2 | 187.37 | 283 | 50.5827 | 226.01 | 123.72
213 | 4 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 111.28 | 127.91 | 178 | 12.1229 | 146.45 | 155.67
214 | 4 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 112.36 | 130.43 | 168 | 16.2237 | 150.72 | 150.83
215 | 4 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 117.26 | 137.69 | 196 | 19.5528 | 161.17 | 143.03
216 | 4 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 146.5 | 182.27 | 218 | 47.2901 | 227.36 | 135.17
217 | 5 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 134.07 | 159.39 | 269 | 33.4543 | 194.85 | 142.61
218 | 5 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 116.49 | 133.51 | 207 | 18.1071 | 153.09 | 151.6
219 | 5 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 124.05 | 144.39 | 256 | 25.3005 | 168.5 | 146.13
220 | 5 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 119.1 | 138.08 | 182 | 21.9277 | 159.2 | 154.06
221 | 5 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 115.84 | 134.81 | 194 | 17.1754 | 158.3 | 151.92
222 | 5 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 122.56 | 143.43 | 248 | 22.5669 | 169.23 | 150.16
223 | 5 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 124.83 | 149.95 | 216 | 25.3775 | 180.11 | 149.53
224 | 5 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 136.01 | 165.75 | 277 | 35.4187 | 205.22 | 142.38
225 | 5 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 106.14 | 119.77 | 182 | 9.7804 | 134.31 | 157.05
226 | 5 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 152.99 | 193.37 | 260 | 52.577 | 250.3 | 128.5
227 | 5 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 120.9 | 139.49 | 206 | 23.3123 | 162.27 | 149.59
228 | 5 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 119.44 | 138.39 | 165 | 19.5549 | 162.03 | 148.21
229 | 5 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 140.08 | 169.6 | 276 | 39.5338 | 211.39 | 139.36
230 | 5 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 122.58 | 142.47 | 197 | 24.7793 | 167.09 | 148.1
231 | 5 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 137.42 | 161.07 | 224 | 38.6922 | 193.95 | 139.43
232 | 5 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 134.49 | 164.11 | 258 | 32.3113 | 202.86 | 144.72
233 | 5 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 136.34 | 165.9 | 290 | 34.117 | 205.41 | 139.07
234 | 5 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 110.27 | 124.98 | 158 | 12.8012 | 141.61 | 155.39
235 | 5 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 120.62 | 141.69 | 200 | 23.1532 | 164.11 | 140.65
236 | 5 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 131.12 | 153.18 | 239 | 30.1396 | 183.05 | 149.81
237 | 5 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 116.57 | 134.29 | 228 | 15.3223 | 152.45 | 154.69
238 | 5 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 131.34 | 157.55 | 213 | 31.6281 | 193.1 | 147.32
239 | 5 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 112.54 | 127.9 | 159 | 14.3955 | 144.99 | 153.63
240 | 5 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 117.21 | 138.33 | 189 | 20.0334 | 164.39 | 151.17
241 | 5 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 116.22 | 136.41 | 178 | 18.3815 | 161.47 | 151.78
242 | 5 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 123.64 | 147.59 | 207 | 25.9603 | 174.35 | 139.79
243 | 5 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 139.53 | 164.04 | 241 | 42.3912 | 198.13 | 132.01
244 | 5 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 144.62 | 174.29 | 266 | 43.8715 | 217.67 | 135.17
245 | 5 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 123.76 | 148.99 | 199 | 28.8359 | 181.92 | 137.54
246 | 5 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 106.82 | 123.34 | 174 | 12.4777 | 139.94 | 150.38
247 | 5 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 121.02 | 142.68 | 184 | 25.2519 | 167.8 | 148.64
248 | 5 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 129.51 | 154.3 | 237 | 29.5766 | 186.07 | 146.79
249 | 5 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 125.94 | 149.2 | 212 | 29.5936 | 180.21 | 140.32
250 | 5 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 138.92 | 169.65 | 241 | 37.5234 | 211.76 | 140.09
251 | 5 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 124.63 | 148.17 | 233 | 26.1101 | 177.31 | 146.39
252 | 5 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 126.86 | 151.12 | 209 | 27.103 | 179.55 | 150.06
253 | 5 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 119.84 | 138.95 | 180 | 21.8022 | 160.4 | 150.48
254 | 5 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 136.43 | 166.24 | 223 | 41.5241 | 202.77 | 129.34
255 | 5 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 134.34 | 161.22 | 237 | 35.9645 | 198.76 | 140.19
256 | 5 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 123.19 | 146.9 | 208 | 27.0483 | 172.59 | 142.1
257 | 5 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 126.22 | 150.79 | 169 | 28.8803 | 181.05 | 143.01
258 | 5 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 121.39 | 140.92 | 188 | 24.4939 | 166.24 | 143.92
259 | 5 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 125.84 | 147.35 | 214 | 26.3916 | 172.92 | 147.26
260 | 5 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 122.24 | 144.17 | 212 | 23.3607 | 169.48 | 150.03
261 | 5 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 133.48 | 161.13 | 224 | 34.2492 | 199.51 | 139.67
262 | 5 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 128.15 | 152.81 | 229 | 30.7835 | 184.85 | 142.95
263 | 5 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 128.08 | 152.36 | 232 | 28.6562 | 179 | 146.58
264 | 5 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 119.41 | 140.78 | 195 | 21.4146 | 165.87 | 146.42
265 | 5 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 119.11 | 137.89 | 230 | 19.4164 | 158.24 | 150.61
266 | 5 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 134.33 | 163.59 | 187 | 33.4423 | 198.01 | 136.82
267 | 5 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 124.51 | 148.25 | 205 | 25.4972 | 180.12 | 149.94
268 | 5 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 121.49 | 142.86 | 179 | 25.4924 | 170.33 | 148.67
269 | 5 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 111.68 | 129.07 | 167 | 12.9667 | 147.76 | 150.76
270 | 5 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 136.39 | 168.33 | 200 | 37.6662 | 209 | 136.37
271 | 6 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 135.05 | 161.92 | 269 | 35.2507 | 196.96 | 139.68
272 | 6 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 119.5 | 136.39 | 223 | 21.2316 | 157.43 | 151.5
273 | 6 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 136.79 | 162.99 | 273 | 37.3783 | 193.38 | 140.17
274 | 6 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 115.9 | 134.13 | 185 | 18.4871 | 151.83 | 153.68
275 | 6 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 124.52 | 147.89 | 230 | 26.7454 | 179.62 | 148.02
276 | 6 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 127.58 | 150.1 | 261 | 26.8818 | 177.61 | 145.89
277 | 6 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 129.95 | 154.83 | 282 | 29.6747 | 184.84 | 146.62
278 | 6 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 147.64 | 180.36 | 282 | 46.3027 | 220.65 | 133.74
279 | 6 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 109.12 | 123.96 | 194 | 12.4311 | 139.8 | 155.91
280 | 6 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 130.71 | 157.19 | 235 | 29.8418 | 191.06 | 145.74
281 | 6 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 136.85 | 162.54 | 246 | 38.8899 | 194.57 | 143.38
282 | 6 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 123.57 | 143.5 | 212 | 22.3152 | 167.43 | 148.45
283 | 6 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 141.1 | 172.26 | 265 | 40.9709 | 214.07 | 134.43
284 | 6 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 118.01 | 135.83 | 219 | 19.699 | 156.58 | 152.57
285 | 6 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 148.5 | 175.7 | 273 | 47.7111 | 213.06 | 133.97
286 | 6 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 131.46 | 156.32 | 209 | 28.8582 | 185.2 | 149.53
287 | 6 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 141.13 | 173.5 | 279 | 38.5963 | 214.4 | 135.23
288 | 6 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 117.29 | 134.61 | 168 | 19.5701 | 153.63 | 153.04
289 | 6 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 119.7 | 139.92 | 182 | 21.9003 | 161.18 | 148.52
290 | 6 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 128.64 | 147.83 | 221 | 27.9906 | 171.39 | 147.24
291 | 6 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 127.39 | 150.43 | 221 | 26.5205 | 175.05 | 147.19
292 | 6 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 129.56 | 156.78 | 210 | 30.6329 | 193.92 | 150.28
293 | 6 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 124.52 | 145.7 | 239 | 25.7872 | 168.82 | 139.63
294 | 6 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 113.21 | 131.02 | 161 | 16.7659 | 152.59 | 151.99
295 | 6 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 118.13 | 137.56 | 217 | 20.0886 | 161.48 | 154.47
296 | 6 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 110.57 | 127.04 | 174 | 12.4116 | 144.35 | 154.89
297 | 6 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 130.68 | 152.56 | 226 | 32.9738 | 181.62 | 140.89
298 | 6 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 139.57 | 170.06 | 325 | 38.6542 | 210.62 | 139.79
299 | 6 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 123.3 | 148.08 | 186 | 28.4151 | 178.42 | 141
300 | 6 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 108.97 | 126.08 | 138 | 14.1204 | 144.17 | 152.41
301 | 6 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 126.89 | 151.36 | 182 | 31.6152 | 178.96 | 142.39
302 | 6 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 124.79 | 147.67 | 220 | 24.8399 | 174.72 | 149.89
303 | 6 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 119.78 | 139.59 | 223 | 22.6521 | 162.78 | 145.93
304 | 6 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 131.54 | 159.59 | 282 | 29.8701 | 193.97 | 142.48
305 | 6 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 113.36 | 131.09 | 198 | 15.1915 | 151.04 | 154.62
306 | 6 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 131.85 | 158.58 | 257 | 31.8859 | 189.16 | 143.62
307 | 6 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 127.72 | 151.13 | 199 | 29.8009 | 177.22 | 139.76
308 | 6 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 119.11 | 140.1 | 202 | 23.4214 | 163.44 | 153.45
309 | 6 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 131.6 | 155.09 | 268 | 32.0171 | 184.26 | 139.23
310 | 6 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 122.06 | 145.23 | 204 | 24.4055 | 170.77 | 144.17
311 | 6 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 122.21 | 143.02 | 205 | 24.5441 | 166.29 | 143.72
312 | 6 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 118.35 | 138 | 205 | 19.8941 | 162.1 | 146.27
313 | 6 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 126.62 | 148.61 | 284 | 26.9712 | 174.38 | 146.25
314 | 6 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 137.56 | 167.87 | 206 | 38.3517 | 204.61 | 143.06
315 | 6 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 144.43 | 174.97 | 353 | 42.9439 | 212.24 | 133.85
316 | 6 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 126.88 | 151.2 | 213 | 30.0009 | 181.13 | 142.96
317 | 6 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 132.56 | 158.73 | 254 | 32.0574 | 187.44 | 141.77
318 | 6 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 133.59 | 161.81 | 207 | 35.4887 | 196.78 | 137.39
319 | 6 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 133.83 | 161.17 | 255 | 33.0528 | 192.18 | 137.68
320 | 6 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 144.12 | 175.16 | 241 | 41.7183 | 210.24 | 129.46
321 | 6 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 130.78 | 157.81 | 190 | 30.575 | 190.9 | 142.62
322 | 6 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 119.57 | 140.68 | 182 | 22.451 | 165.87 | 144.7
323 | 6 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 121.72 | 143.76 | 185 | 23.2735 | 167.25 | 138.44
324 | 6 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 156.65 | 199.1 | 250 | 57.7266 | 250.27 | 114.35
325 | 7 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 134.6 | 161.15 | 268 | 34.5907 | 196.42 | 143.23
326 | 7 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 119.92 | 138.01 | 223 | 22.4456 | 159.03 | 148.3
327 | 7 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 131.81 | 157.23 | 217 | 33.3813 | 185.81 | 145.77
328 | 7 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 122.54 | 144.43 | 198 | 25.1193 | 165.56 | 149.71
329 | 7 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 121.93 | 144.56 | 200 | 23.595 | 175.13 | 148.87
330 | 7 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 131.08 | 153.99 | 234 | 31.3346 | 181.33 | 141
331 | 7 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 133.51 | 161.28 | 262 | 33.0371 | 194.18 | 139.54
332 | 7 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 150.7 | 188.41 | 264 | 49.9704 | 237.44 | 125.58
333 | 7 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 111.51 | 127.26 | 210 | 14.7046 | 142.81 | 146.72
334 | 7 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 140.71 | 172.34 | 243 | 39.9807 | 215.81 | 141.05
335 | 7 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 134.76 | 159.53 | 235 | 37.3886 | 191.21 | 143.33
336 | 7 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 125.73 | 147.45 | 222 | 24.9542 | 176.44 | 147.37
337 | 7 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 136.33 | 165.49 | 277 | 35.4019 | 204.8 | 140.72
338 | 7 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 120.02 | 139.39 | 189 | 21.4593 | 165.67 | 155.89
339 | 7 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 123.92 | 144.55 | 241 | 24.1085 | 168.49 | 151.1
340 | 7 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 120.65 | 142.05 | 231 | 19.4193 | 167.78 | 154.04
341 | 7 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 137.94 | 167.74 | 359 | 34.932 | 201.08 | 135.1
342 | 7 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 117.74 | 133.94 | 168 | 19.5062 | 154.18 | 153.54
343 | 7 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 123.14 | 145.11 | 222 | 25.6375 | 170 | 144.39
344 | 7 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 124.43 | 144.44 | 249 | 24.3915 | 169.09 | 147.87
345 | 7 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 128.79 | 153.04 | 221 | 28.2037 | 181.67 | 142.95
346 | 7 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 130.38 | 157.2 | 222 | 30.9736 | 191.87 | 149.28
347 | 7 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 119.54 | 139.47 | 199 | 21.4273 | 162.41 | 144.34
348 | 7 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 110.82 | 128.07 | 123 | 13.9698 | 147.68 | 155.25
349 | 7 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 120.19 | 141.63 | 206 | 21.812 | 169.65 | 152.92
350 | 7 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 121.57 | 145.46 | 204 | 23.773 | 173.1 | 147.25
351 | 7 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 124.06 | 144.22 | 188 | 27.5529 | 170.82 | 146.93
352 | 7 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 139.07 | 170.34 | 269 | 38.8097 | 212.76 | 137.97
353 | 7 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 110.25 | 128.91 | 169 | 15.5688 | 152.6 | 152.59
354 | 7 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 123.12 | 147.5 | 182 | 28.2156 | 174.24 | 138.54
355 | 7 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 114.84 | 133.86 | 161 | 18.9625 | 155.45 | 151.53
356 | 7 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 137.74 | 170.45 | 190 | 37.9447 | 212.91 | 140.01
357 | 7 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 117.2 | 136.69 | 191 | 20.6223 | 158.42 | 145.96
358 | 7 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 149.57 | 185.66 | 297 | 47.2213 | 234.83 | 133.34
359 | 7 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 117.78 | 138.27 | 228 | 19.8261 | 161.47 | 148.1
360 | 7 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 129.19 | 157.42 | 211 | 29.7481 | 192.68 | 145.87
361 | 7 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 118.71 | 137.94 | 205 | 21.0354 | 159.02 | 143.37
362 | 7 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 121.76 | 144.58 | 202 | 26.4306 | 170.85 | 151.27
363 | 7 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 129.09 | 153.51 | 250 | 30.2166 | 183.42 | 138.46
364 | 7 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 137.05 | 168.67 | 224 | 39.5194 | 203.41 | 130.76
365 | 7 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 125.87 | 148.91 | 248 | 27.8734 | 175.33 | 142.9
366 | 7 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 123.34 | 146.21 | 190 | 25.7858 | 177.6 | 146.13
367 | 7 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 125.82 | 147.94 | 199 | 27.2764 | 172.3 | 141.82
368 | 7 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 121.71 | 144.59 | 189 | 23.3512 | 171.67 | 146.62
369 | 7 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 135.7 | 162.38 | 240 | 35.7252 | 192.91 | 131.43
370 | 7 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 129.76 | 155.68 | 240 | 32.3805 | 187.73 | 141.48
371 | 7 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 146.55 | 181.38 | 252 | 46.259 | 223.18 | 132
372 | 7 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 131.98 | 159.5 | 245 | 33.1449 | 193.7 | 134.27
373 | 7 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 129.29 | 153.6 | 222 | 29.1258 | 180.51 | 144.22
374 | 7 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 137.85 | 168.3 | 210 | 35.7192 | 205.99 | 135.66
375 | 7 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 126.64 | 151.94 | 199 | 27.056 | 183.07 | 143.34
376 | 7 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 123.59 | 146.01 | 221 | 27.238 | 174.8 | 143.97
377 | 7 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 121.44 | 143.43 | 237 | 23.6012 | 168.05 | 143.85
378 | 7 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 139.96 | 174.35 | 222 | 41.9253 | 218.67 | 131.25
379 | 8 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 123.8 | 144.01 | 235 | 23.4812 | 167.81 | 147.61
380 | 8 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 115 | 131.63 | 204 | 17.6125 | 151.07 | 153.51
381 | 8 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 124.94 | 146.82 | 189 | 26.3567 | 170 | 146.02
382 | 8 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 116.44 | 134.96 | 182 | 19.6265 | 152.72 | 154.61
383 | 8 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 117.4 | 138.64 | 162 | 19.7941 | 166.34 | 152.3
384 | 8 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 118.73 | 137.08 | 193 | 19.367 | 156.42 | 152.25
385 | 8 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 128.71 | 155.58 | 205 | 29.7112 | 188.43 | 148.98
386 | 8 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 129.1 | 153.5 | 220 | 29.312 | 183.75 | 143.5
387 | 8 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 112.08 | 128.34 | 187 | 15.777 | 145.29 | 149.61
388 | 8 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 134.26 | 161.52 | 249 | 33.5778 | 193.71 | 140.69
389 | 8 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 117.31 | 135.89 | 170 | 20.6424 | 158.63 | 151.39
390 | 8 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 120.25 | 140.39 | 194 | 20.1793 | 164.23 | 150.21
391 | 8 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 134.18 | 160.54 | 257 | 34.0249 | 193.58 | 137.7
392 | 8 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 120.99 | 139.83 | 227 | 23.5152 | 164.47 | 148.77
393 | 8 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 125.58 | 146.17 | 246 | 25.5028 | 169.89 | 147.79
394 | 8 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 128.91 | 153.17 | 211 | 28.3133 | 180.76 | 148.82
395 | 8 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 140.76 | 172.69 | 269 | 38.1492 | 213.82 | 138.01
396 | 8 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 116.68 | 133.44 | 174 | 19.6487 | 152.89 | 153.62
397 | 8 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 117.07 | 136.81 | 175 | 20.5781 | 157.05 | 146.45
398 | 8 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 120.46 | 138.02 | 236 | 20.1982 | 158.97 | 152.01
399 | 8 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 130.22 | 156.06 | 226 | 29.7252 | 184.73 | 148.76
400 | 8 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 127.83 | 152.44 | 189 | 29.229 | 184.94 | 149.41
401 | 8 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 115.63 | 133.38 | 169 | 18.1675 | 153.56 | 148.47
402 | 8 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 110.06 | 127.74 | 149 | 13.3574 | 146.4 | 152.6
403 | 8 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 117.42 | 136.74 | 173 | 18.9455 | 158.45 | 154.42
404 | 8 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 109.66 | 126.17 | 178 | 12.3078 | 143.06 | 153.75
405 | 8 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 129.84 | 150.68 | 208 | 32.6358 | 177.27 | 138.81
406 | 8 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 143.38 | 173.93 | 304 | 42.7821 | 214.85 | 138.37
407 | 8 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 123.18 | 146.24 | 171 | 27.7805 | 176.74 | 146.84
408 | 8 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 120.03 | 144.4 | 158 | 25.1132 | 172.08 | 141.19
409 | 8 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 114.27 | 132.69 | 170 | 18.8413 | 153.06 | 149.06
410 | 8 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 123.01 | 146.35 | 220 | 23.3984 | 175.03 | 153.91
411 | 8 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 124.53 | 147.79 | 227 | 27.5007 | 174.59 | 144.02
412 | 8 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 132.82 | 156.97 | 291 | 30.7772 | 186.36 | 143.67
413 | 8 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 124.85 | 147.19 | 179 | 27.2196 | 173.58 | 144.46
414 | 8 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 131.17 | 157.15 | 176 | 31.2944 | 187.71 | 144.96
415 | 8 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 121.05 | 140.91 | 191 | 23.0401 | 162.44 | 143.69
416 | 8 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 132.61 | 158.39 | 227 | 37.2415 | 190.7 | 140.22
417 | 8 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 127.85 | 149.97 | 266 | 29.853 | 178.34 | 143.45
418 | 8 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 119.26 | 142.01 | 174 | 23.2938 | 166.67 | 145.19
419 | 8 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 122.57 | 143.39 | 222 | 24.9763 | 165.79 | 145.91
420 | 8 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 124.98 | 146.26 | 192 | 28.6194 | 175.3 | 145.6
421 | 8 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 121.22 | 142.21 | 234 | 22.359 | 166.29 | 148.42
422 | 8 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 123.23 | 146.34 | 188 | 25.2128 | 171.33 | 150.36
423 | 8 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 124.93 | 146.41 | 240 | 24.5449 | 171.37 | 144.53
424 | 8 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 118.18 | 138.55 | 188 | 22.5237 | 162.09 | 150.05
425 | 8 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 123.79 | 147.14 | 228 | 25.6464 | 173.73 | 144.75
426 | 8 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 128.71 | 154.52 | 188 | 30.3998 | 185.16 | 139.32
427 | 8 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 135.14 | 162.35 | 225 | 34.6348 | 194.78 | 140.02
428 | 8 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 131.73 | 158.53 | 229 | 29.6469 | 189.53 | 138.57
429 | 8 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 119.66 | 140.34 | 216 | 20.4209 | 164.82 | 147.22
430 | 8 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 124.43 | 147.2 | 193 | 28.1535 | 175.24 | 143.45
431 | 8 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 126.27 | 149.66 | 219 | 28.112 | 177.75 | 135.42
432 | 8 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 157.88 | 200.89 | 272 | 58.5582 | 253.7 | 120.33
433 | 9 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 137.5 | 164.63 | 271 | 36.1637 | 200.3 | 135.3
434 | 9 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 113.61 | 129.62 | 187 | 15.0296 | 148.02 | 155.94
435 | 9 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 122.97 | 144.9 | 243 | 24.4911 | 168.86 | 144.2
436 | 9 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 121.68 | 142.08 | 235 | 23.5528 | 163.44 | 147.95
437 | 9 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 122.07 | 145.38 | 166 | 24.5523 | 177.37 | 148.33
438 | 9 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 130.24 | 153.92 | 219 | 30.86 | 183.89 | 139.32
439 | 9 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 130.66 | 159.48 | 233 | 30.9302 | 192.71 | 140.4
440 | 9 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 143.37 | 176.7 | 303 | 42.4525 | 219.97 | 134.17
441 | 9 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 115.43 | 132.62 | 149 | 19.2581 | 152.59 | 148.83
442 | 9 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 134.37 | 162.5 | 279 | 32.6405 | 199.8 | 141.26
443 | 9 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 130.84 | 155.04 | 218 | 33.8084 | 185.63 | 140.18
444 | 9 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 132.25 | 156.14 | 218 | 31.2656 | 186.99 | 136.8
445 | 9 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 139.21 | 169.88 | 268 | 38.905 | 208.03 | 131.74
446 | 9 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 114.74 | 131.18 | 204 | 15.8575 | 151.81 | 155.81
447 | 9 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 125.47 | 149.2 | 182 | 26.1978 | 179.48 | 148.8
448 | 9 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 137.1 | 167 | 235 | 34.8208 | 205.96 | 145.13
449 | 9 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 142.48 | 174.22 | 273 | 39.613 | 212.58 | 132.16
450 | 9 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 107.43 | 121.65 | 138 | 10.6865 | 137 | 155.91
451 | 9 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 119.73 | 140.71 | 178 | 23.2008 | 164.85 | 144.69
452 | 9 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 124.06 | 143.14 | 231 | 23.553 | 167.51 | 150.17
453 | 9 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 128.32 | 152.6 | 255 | 27.5024 | 178.88 | 142.82
454 | 9 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 129.17 | 156.37 | 211 | 28.5642 | 193.16 | 150.73
455 | 9 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 116.7 | 135.12 | 171 | 19.0532 | 156.12 | 147.4
456 | 9 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 112.42 | 131.56 | 163 | 15.6571 | 153.59 | 149.29
457 | 9 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 112.65 | 130.84 | 181 | 14.668 | 151.92 | 154.06
458 | 9 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 116.92 | 136.04 | 198 | 19.1771 | 158.19 | 150.19
459 | 9 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 131.76 | 156 | 192 | 35.031 | 189.47 | 137.65
460 | 9 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 144.06 | 179.19 | 277 | 44.3361 | 227.73 | 137.3
461 | 9 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 121.12 | 144.68 | 182 | 25.5772 | 175.15 | 144.31
462 | 9 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 117.05 | 137.96 | 221 | 22.0117 | 160.45 | 140.49
463 | 9 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 116.9 | 136.48 | 167 | 21.1097 | 160.51 | 148.93
464 | 9 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 142.48 | 177.78 | 243 | 42.2789 | 226.07 | 138.08
465 | 9 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 118 | 138.15 | 214 | 22.1558 | 161.88 | 145.95
466 | 9 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 146.61 | 180.24 | 304 | 44.2389 | 223.77 | 129.69
467 | 9 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 123.73 | 146.5 | 217 | 24.6969 | 173.46 | 145.59
468 | 9 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 129.92 | 156.26 | 230 | 30.0326 | 188.56 | 148.42
469 | 9 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 120.83 | 141.81 | 202 | 23.4461 | 163.82 | 139.2
470 | 9 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 124.42 | 146.79 | 211 | 28.4426 | 175.06 | 145.62
471 | 9 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 147.25 | 178.41 | 280 | 48.1392 | 220.64 | 124.47
472 | 9 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 127.51 | 156.11 | 212 | 30.1386 | 189.5 | 141.69
473 | 9 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 114.15 | 131.74 | 202 | 17.1868 | 151.84 | 147.51
474 | 9 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 119.44 | 138.24 | 177 | 22.3339 | 163.22 | 148.33
475 | 9 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 123.67 | 145.67 | 200 | 25.1324 | 170.19 | 142.87
476 | 9 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 124.42 | 146.62 | 227 | 25.0325 | 171.86 | 145.57
477 | 9 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 124.8 | 147.03 | 255 | 23.8553 | 172.91 | 144.39
478 | 9 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 131.43 | 157.74 | 247 | 33.9577 | 189.24 | 138.3
479 | 9 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 128.27 | 155.14 | 234 | 28.6038 | 186.45 | 140.5
480 | 9 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 133.22 | 160.93 | 228 | 34.427 | 195.07 | 133.98
481 | 9 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 126.63 | 149.94 | 219 | 27.3115 | 176.72 | 143.88
482 | 9 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 134.21 | 162.02 | 242 | 31.876 | 192.33 | 134.44
483 | 9 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 129.29 | 156.94 | 211 | 30.8421 | 191.58 | 141.34
484 | 9 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 111.63 | 129.28 | 187 | 14.9562 | 149.53 | 152.89
485 | 9 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 117.76 | 137.8 | 203 | 19.9526 | 160.33 | 145.67
486 | 9 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 147.73 | 187.94 | 220 | 48.8651 | 243.24 | 131.88
487 | 10 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 132.7 | 158.69 | 308 | 30.7286 | 190.29 | 138.39
488 | 10 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 121.47 | 139.55 | 221 | 23.3369 | 160.6 | 148.74
489 | 10 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 153.54 | 186.86 | 301 | 54.5257 | 223.87 | 124.43
490 | 10 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 126 | 147.82 | 248 | 27.9212 | 167.95 | 145
491 | 10 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 129.31 | 156.22 | 214 | 30.4146 | 192.63 | 142.58
492 | 10 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 122.55 | 143.46 | 244 | 23.0215 | 167.64 | 150.4
493 | 10 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 136.56 | 164.2 | 252 | 36.8058 | 196.75 | 143.42
494 | 10 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 156.92 | 193.39 | 270 | 55.3053 | 239.74 | 126.62
495 | 10 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 132.59 | 157.34 | 237 | 34.9148 | 185.27 | 135.29
496 | 10 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 145.66 | 177.71 | 261 | 44.2505 | 218.2 | 135.13
497 | 10 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 129.52 | 153.35 | 233 | 32.0798 | 181.69 | 147.36
498 | 10 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 142.93 | 171.75 | 265 | 42.1362 | 206.45 | 133.96
499 | 10 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 140.51 | 169.48 | 299 | 39.6312 | 207.57 | 138.99
500 | 10 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 124.24 | 145.76 | 193 | 25.9492 | 170.72 | 143.57
501 | 10 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 139.42 | 164.38 | 296 | 39.4978 | 192.38 | 137.65
502 | 10 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 133.5 | 161.74 | 250 | 31.2743 | 195.45 | 144.54
503 | 10 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 140.69 | 172.18 | 315 | 38.174 | 212.27 | 134.5
504 | 10 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 118 | 136.81 | 235 | 19.6654 | 158.58 | 151.26
505 | 10 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 131.02 | 155.43 | 209 | 33.0199 | 179.88 | 135.75
506 | 10 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 130.53 | 152.39 | 270 | 29.4109 | 180.15 | 148.64
507 | 10 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 129.72 | 152.95 | 237 | 29.1797 | 177.17 | 145.97
508 | 10 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 133.93 | 160.96 | 234 | 33.298 | 194.47 | 146.01
509 | 10 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 115.72 | 134.63 | 188 | 17.2829 | 154.01 | 148.99
510 | 10 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 125.18 | 150.88 | 213 | 27.8267 | 182.88 | 141.59
511 | 10 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 121.08 | 142.82 | 202 | 23.2798 | 170.25 | 152.06
512 | 10 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 119.83 | 141.68 | 217 | 21.3708 | 165.39 | 146.61
513 | 10 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 144.07 | 174.35 | 255 | 46.5893 | 212.06 | 123.16
514 | 10 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 142.78 | 172.81 | 314 | 41.1663 | 211.31 | 134.24
515 | 10 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 135.33 | 164.69 | 207 | 40.1554 | 202.03 | 129.92
516 | 10 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 120.52 | 142.07 | 205 | 25.4237 | 164.57 | 138.08
517 | 10 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 121.07 | 142.25 | 175 | 25.0949 | 164.96 | 147.72
518 | 10 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 130.95 | 158.57 | 225 | 30.4865 | 192.37 | 145.64
519 | 10 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 132.47 | 156.81 | 221 | 34.9783 | 184.55 | 135.59
520 | 10 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 142.65 | 174.49 | 277 | 40.9144 | 216.03 | 136.01
521 | 10 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 121.6 | 142.69 | 246 | 22.6806 | 167.54 | 149.93
522 | 10 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 135.71 | 163.17 | 223 | 35.5858 | 195.01 | 142.06
523 | 10 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 123.56 | 143.53 | 224 | 24.9509 | 164.13 | 141.22
524 | 10 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 128.12 | 151.37 | 247 | 31.5089 | 176.69 | 143.59
525 | 10 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 145.12 | 174.6 | 240 | 46.1603 | 211.29 | 125.75
526 | 10 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 136.68 | 167.51 | 249 | 38.9378 | 199.95 | 128.59
527 | 10 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 123.07 | 142.78 | 224 | 25.0678 | 164.73 | 145.07
528 | 10 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 117.25 | 135.28 | 189 | 20.3205 | 156.76 | 147.12
529 | 10 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 139.12 | 165.82 | 243 | 39.7499 | 197.34 | 136.62
530 | 10 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 145.25 | 178.29 | 220 | 46.5142 | 219.67 | 133.06
531 | 10 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 138.54 | 167.26 | 278 | 37.6976 | 200.95 | 133.29
532 | 10 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 118.45 | 138.19 | 254 | 20.3128 | 158.76 | 149.38
533 | 10 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 137.09 | 165.98 | 260 | 38.0437 | 197.75 | 142.48
534 | 10 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 134.9 | 163.28 | 245 | 36.0427 | 196.73 | 134.46
535 | 10 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 136.48 | 164.83 | 261 | 36.5242 | 196.68 | 139.39
536 | 10 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 157.45 | 195.36 | 285 | 54.6348 | 237.42 | 120.04
537 | 10 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 124.85 | 147.62 | 238 | 24.8944 | 176.09 | 147.81
538 | 10 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 122.1 | 144.8 | 216 | 25.4217 | 173.1 | 145.5
539 | 10 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 115.2 | 134.15 | 180 | 17.0969 | 155.98 | 149.2
540 | 10 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 140.5 | 174.33 | 246 | 42.1073 | 216.72 | 134.67
541 | 11 | 1 | 53932.5754 | 10981.887 | 6643.3504 | 2641.0605 | 140.09 | 166.54 | 255 | 39.9701 | 204.06 | 141.65
542 | 11 | 2 | 53644.337 | 9983.2092 | 6539.022 | 2051.2502 | 121.57 | 138.63 | 198 | 23.8583 | 161.83 | 152.89
543 | 11 | 3 | 53787.8231 | 10981.887 | 6553.5229 | 2641.0605 | 122.98 | 141.96 | 198 | 24.4532 | 164.39 | 152.66
544 | 11 | 4 | 53878.8505 | 11210.7695 | 6583.5617 | 2518.9966 | 121.43 | 140.99 | 257 | 23.7294 | 159.41 | 148.99
545 | 11 | 5 | 53728.3342 | 11210.7695 | 6588.6476 | 2518.9966 | 118.4 | 137.31 | 231 | 21.2343 | 162.61 | 151.01
546 | 11 | 6 | 53942.5591 | 10981.887 | 6637.1224 | 2641.0605 | 119.65 | 138.18 | 228 | 20.4653 | 159.63 | 151.47
547 | 11 | 7 | 53901.2823 | 11210.7695 | 6711.1335 | 2641.0605 | 118.86 | 138.02 | 217 | 20.3769 | 158.5 | 150.75
548 | 11 | 8 | 53981.5078 | 10981.887 | 6708.7214 | 2641.0605 | 132.95 | 158.02 | 273 | 32.7111 | 190.69 | 142.83
549 | 11 | 9 | 53573.0324 | 10369.6366 | 6492.3798 | 2115.3134 | 118.21 | 135.76 | 200 | 21.3995 | 158.95 | 150.64
550 | 11 | 10 | 54230.1242 | 11030.2522 | 6716.956 | 2641.0605 | 129.9 | 155.56 | 242 | 28.8107 | 186.91 | 145.21
551 | 11 | 11 | 53891.7346 | 11030.2522 | 6598.1359 | 2323.8788 | 122.25 | 140.05 | 211 | 24.6595 | 162.9 | 148.52
552 | 11 | 12 | 54132.2973 | 11030.2522 | 6701.2224 | 2641.0605 | 132.15 | 154.6 | 252 | 31.8233 | 185.37 | 143.21
553 | 11 | 13 | 53932.0585 | 11210.7695 | 6681.4066 | 2641.0605 | 131.66 | 155.04 | 238 | 32.4653 | 188.3 | 147.92
554 | 11 | 14 | 53989.3863 | 10733.6887 | 6567.5281 | 2498.7149 | 125.28 | 147.22 | 211 | 27.1405 | 177.09 | 150.89
555 | 11 | 15 | 54091.8235 | 11210.7695 | 6722.2185 | 2641.0605 | 129.89 | 151.97 | 245 | 31.3689 | 182.46 | 148.32
556 | 11 | 16 | 54309.0274 | 10981.887 | 6765.2958 | 2641.0605 | 122.76 | 144.24 | 188 | 22.1205 | 170.61 | 151.75
557 | 11 | 17 | 54241.5775 | 11210.7695 | 6745.8612 | 2641.0605 | 145.89 | 179.92 | 300 | 43.9705 | 227.97 | 136.74
558 | 11 | 18 | 53955.8507 | 10981.887 | 6608.5058 | 2641.0605 | 118.98 | 135.86 | 178 | 20.8303 | 157.6 | 152.95
559 | 11 | 19 | 53747.4454 | 10562.0538 | 6534.7112 | 2115.3134 | 118.67 | 137.32 | 250 | 20.5808 | 157.75 | 148.24
560 | 11 | 20 | 53903.0745 | 10981.887 | 6588.3067 | 2641.0605 | 124.87 | 143.72 | 224 | 24.4053 | 167.6 | 151.14
561 | 11 | 21 | 54180.766 | 11030.2522 | 6624.9134 | 2323.8788 | 127.09 | 148.93 | 249 | 26.8022 | 174.02 | 148.43
562 | 11 | 22 | 53919.0055 | 11030.2522 | 6672.5117 | 2641.0605 | 120.74 | 141.15 | 188 | 21.3934 | 167.27 | 154.76
563 | 11 | 23 | 53583.871 | 10562.0538 | 6480.9463 | 2122.5321 | 120.86 | 140.17 | 173 | 23.3437 | 161.73 | 143.57
564 | 11 | 24 | 53806.9733 | 10981.887 | 6513.8586 | 2641.0605 | 107.95 | 124.02 | 154 | 11.1537 | 141.64 | 154.59
565 | 11 | 25 | 53693.6771 | 11210.7695 | 6575.6426 | 2641.0605 | 118.34 | 138.9 | 198 | 20.1569 | 163.71 | 158.32
566 | 11 | 26 | 53884.8156 | 11030.2522 | 6621.2898 | 2641.0605 | 116.25 | 135.67 | 195 | 19.4381 | 159.47 | 151.74
567 | 11 | 27 | 53721.878 | 10981.887 | 6557.1577 | 2641.0605 | 115.64 | 132.85 | 196 | 18.5052 | 155.92 | 153.33
568 | 11 | 28 | 53999.5099 | 11210.7695 | 6716.2714 | 2641.0605 | 150.94 | 184.48 | 290 | 50.6278 | 234.88 | 137.93
569 | 11 | 29 | 53539.6491 | 10733.6887 | 6467.6944 | 2498.7149 | 116.2 | 136.33 | 208 | 20.8636 | 162.11 | 150.71
570 | 11 | 30 | 53351.9333 | 10981.887 | 6456.851 | 2641.0605 | 111.42 | 129.91 | 170 | 17.4304 | 150.16 | 147.22
571 | 11 | 31 | 53447.065 | 10282.0054 | 6496.5114 | 2086.3526 | 111.4 | 127.34 | 170 | 15.6086 | 144.24 | 152.98
572 | 11 | 32 | 54128.5449 | 11210.7695 | 6678.6955 | 2518.9966 | 123.07 | 146.31 | 223 | 23.9906 | 175.11 | 149.96
573 | 11 | 33 | 53727.7886 | 10981.887 | 6504.5917 | 2641.0605 | 129.4 | 154.28 | 220 | 32.0442 | 187.01 | 142.8
574 | 11 | 34 | 54273.1311 | 11210.7695 | 6722.0361 | 2641.0605 | 128.29 | 152.48 | 277 | 26.5316 | 182.63 | 146.33
575 | 11 | 35 | 53919.735 | 11030.2522 | 6579.3322 | 2641.0605 | 114.93 | 133.09 | 210 | 17.2047 | 155.49 | 155.67
576 | 11 | 36 | 53914.1462 | 11210.7695 | 6618.8152 | 2641.0605 | 127.87 | 153.03 | 217 | 29.4347 | 184.56 | 146.19
577 | 11 | 37 | 53724.1981 | 11210.7695 | 6509.8332 | 2518.9966 | 108.35 | 123.34 | 156 | 11.1645 | 139.48 | 154.35
578 | 11 | 38 | 53580.8585 | 11030.2522 | 6448.3131 | 2320.3318 | 124.51 | 145.74 | 229 | 29.1729 | 174.25 | 148.17
579 | 11 | 39 | 53997.4918 | 11210.7695 | 6647.9705 | 2641.0605 | 133.84 | 158.41 | 311 | 35.1015 | 188.98 | 138.14
580 | 11 | 40 | 53798.0814 | 11210.7695 | 6584.1745 | 2518.9966 | 119.68 | 141.39 | 229 | 23.0503 | 164.39 | 143.91
581 | 11 | 41 | 53604.8088 | 11030.2522 | 6506.8703 | 2320.3318 | 124.43 | 145.78 | 214 | 26.439 | 170.87 | 144.52
582 | 11 | 42 | 53793.0878 | 11210.7695 | 6527.0182 | 2641.0605 | 110.44 | 125.48 | 142 | 14.2665 | 144.27 | 155.03
583 | 11 | 43 | 53913.3951 | 10981.887 | 6547.5295 | 2641.0605 | 123.74 | 145.08 | 254 | 24.816 | 169.32 | 146.55
584 | 11 | 44 | 54074.3579 | 11030.2522 | 6597.2026 | 2641.0605 | 127.32 | 151.47 | 234 | 29.1781 | 180.55 | 144.28
585 | 11 | 45 | 53921.8384 | 11210.7695 | 6638.0757 | 2518.9966 | 131.7 | 153.66 | 247 | 32.5093 | 180.08 | 136.98
586 | 11 | 46 | 53625.5371 | 10981.887 | 6578.5696 | 2641.0605 | 127.46 | 151.99 | 227 | 31.2757 | 180.5 | 144.7
587 | 11 | 47 | 54056.3524 | 11030.2522 | 6655.8011 | 2641.0605 | 133.47 | 160.73 | 265 | 34.6687 | 192.58 | 141.18
588 | 11 | 48 | 53856.6404 | 11210.7695 | 6598.6082 | 2518.9966 | 136.65 | 164.17 | 266 | 38.3675 | 199.1 | 134.05
589 | 11 | 49 | 54128.1977 | 11030.2522 | 6694.2564 | 2498.7149 | 121.14 | 141.06 | 212 | 21.6419 | 162.99 | 150.55
590 | 11 | 50 | 54396.8601 | 11030.2522 | 6705.5596 | 2498.7149 | 129.06 | 153.59 | 233 | 28.0579 | 181.66 | 138.7
591 | 11 | 51 | 53882.2616 | 11210.7695 | 6596.0775 | 2641.0605 | 115.03 | 131.86 | 192 | 16.3649 | 152.46 | 154.56
592 | 11 | 52 | 53753.1048 | 11030.2522 | 6512.1023 | 2498.7149 | 126.12 | 148.53 | 197 | 29.2696 | 178.33 | 145
593 | 11 | 53 | 53592.8452 | 10723.4531 | 6559.0819 | 2498.7149 | 122.2 | 144.93 | 207 | 24.1479 | 171.82 | 143.17
594 | 11 | 54 | 54006.1289 | 11210.7695 | 6670.8083 | 2539.7385 | 140.26 | 174.06 | 267 | 42.0775 | 216.7 | 132.3